661—224.8(101) Civil penalty. The state fire marshal may impose a civil penalty upon the owner of a storage tank for any of the following:

1.	Failure to register a storage tank currently being used to store a flammable or combustible liquid if the registration is more than 30 days late.

2.	Allowing any flammable or combustible liquid to be placed into a tank which has been ordered to be placed out of service and for which the order has not been rescinded or allowing any flammable or combustible liquid to be placed into any tank which has been damaged or is leaking, if the damage or leak has not been repaired.

A civil penalty issued pursuant to this rule and to Iowa Code section 101.26 shall not exceed $100 for each day during which the violation occurs or $1000 in total.

[ARC 5409C, IAB 1/27/21, effective 3/3/21]