567—136.1(455B) Applicability.
	136.1(1) This chapter applies to owners and operators of all petroleum underground storage tank (UST) systems except as otherwise provided in this rule.
	136.1(2) Owners and operators of petroleum UST systems are subject to these requirements.
	136.1(3) State and federal government entities whose debts and liabilities are the debts and liabilities of a state or the United States are exempt from the requirements of this chapter.
	136.1(4) The requirements of this chapter do not apply to owners and operators of farm or residential tanks of 1,100 gallons or less capacity installed prior to July 1, 1987, or any UST system described in 567—paragraph 135.1(3)“b” or subparagraph 135.1(3)“c”(1), (3) or (4).
	136.1(5) If the owner and operator of a petroleum underground storage tank are separate persons, only one person is required to demonstrate financial responsibility; however, both parties are liable in event of noncompliance.
[ARC 5625C, IAB 5/19/21, effective 6/23/21]