875—73.15 (89A) Guide rails.

73.15(1) All guide rails and brackets whether of wood or steel shall be firmly and securely anchored or bolted in place. Where T rail is used, all fish-plate bolts shall be tight. This shall comply with ANSI A17.1, 1981, Section 200.

73.15(2) Where guide rails which are worn to such a point that proper clearance of safety jaws cannot be maintained, the worn sections shall be replaced to achieve clearances as specified in ANSI A17.1, 1971, Rule 1001.2.

[ARC 7840B, IAB 6/17/09, effective 7/22/09]