567—49.23 (455B) Interconnections and cross connections. No connection between a well or boring and another well, boring, water supply system, any chemical injection or contamination source is allowed unless the connection is:

1. 	 Protected by an air gap;

2. 	 Protected by a backflow prevention device; or

3. 	 Between wells or borings that meet the construction standards of this chapter, are used for the same purpose, and have equivalent quality water supply.