567—49.25 (455B) Filters and water treatment equipment. Filters and water treatment equipment shall be installed and operated in accordance with manufacturers’ directions.