567—114.13 (455B) Primary plan requirements for all sanitary disposal projects. Every application for any permit issued by the department shall include the following. In addition, every application shall include the particular information required by the chapter describing the type of project to be constructed.
	 114.13(1) The name, address and telephone number of:
	  a.   	 Owner of site where project will be located.
	  b.   	 Permit applicant.
	  c.   	 Official responsible for operation of project.
	  d.   	 Design engineer.
	  e.   	 Agency to be served by the project, if any.
	  f.   	 Responsible official of agency served, if any.
	 114.13(2) A legal description of the site.
	 114.13(3) A map or aerial photograph locating the boundaries of the site and identifying:
	  a.   	 North or other principal compass points.
	  b.   	 Zoning and land use within one-half mile.
	  c.   	 Haul routes to and from the site with load limits or other restrictions.
	  d.   	 Homes and buildings within one-half mile.
	  e.   	 Section lines or other legal boundaries.
	  f.   	 Any nearby runway used or planned to be used by turbojet or piston-type aircraft at FAA-certified airports.
	 114.13(4) Type, source, and expected volume or weight of waste to be handled per day, week or year.
	 114.13(5) An organizational chart.
	 114.13(6) A detailed description of the disposal process to be used.
	 114.13(7) A table listing the equipment to be used, its design capacities and expected loads.
	 114.13(8) A contingency plan detailing specific procedures to be followed in case of equipment breakdown, maintenance downtime, or fire in equipment or vehicles, including methods to be used to remove or dispose of accumulated waste.
	 114.13(9) Proof of the applicant’s ownership of the site or legal entitlement to use the site for the disposal of solid waste for the term of the permit for which application is made.
	 114.13(10) Closure/postclosure plan.
	  a.   	 A closure/postclosure plan shall be submitted which:
	 (1) 	 Details how and when the facility will be closed in accordance with applicable requirements of this chapter.
	 (2) 	 Describes the proposed groundwater monitoring plan, leachate control system, and site inspection and maintenance activities necessary to comply with this chapter.
	 (3) 	 States the name, address and telephone number of the person or office to serve as a contact with regard to the facility during the postclosure period.
	  b.   	 The closure/postclosure plan shall be submitted at the time of the first permit renewal after January 15, 2003, but not less than 180 days prior to closure.
	 114.13(11) Such other information as may be required by the director.