567—104.7 (455B) Metals separation equipment.
	 104.7(1) Metals separation equipment shall be installed at that point in the process which minimizes possible organic contamination of the metal.
	 104.7(2) Provisions shall be made for storage of separated materials in enclosed leakproof containers.