641—14.6 (714) Registration. A water treatment system that has been performance tested in accordance with 14.4(714) and that meets the performance requirement of 14.4(4) may be registered with the department. A water treatment system shall be registered with the department before it is sold, leased or rented and before it is advertised for sale, lease or rent in Iowa.

14.6(1) Initial registration.

a.   	 The manufacturer of a water treatment system or the manufacturer’s authorized representative shall submit the following information to the department on forms supplied by the department:

(1) 	 The name and address of the manufacturer and the name, address, telephone number, and E-mail address of the manufacturer’s representative.

(2) 	 The brand name, model number, and trade name(s) of the water treatment system.

(3) 	 A detailed drawing with part numbers identifying each component of the water treatment system. Where applicable, this includes, but may not be limited to, pre- and post-filters, storage tank, dispensing unit (faucet), booster pump, and the main treatment module. Replaceable components shall be specifically identified and the approximate treatment capacity or replacement frequency shall be stated.

(4) 	 Verification by a third-party testing agency that the water treatment system performed in accordance with 14.4(4) when tested with an approved performance testing protocol. If the third-party testing agency is ANSI-accredited and the water treatment system was tested in accordance with a standard(s) in Table 1, documentation of a listing by the ANSI-accredited agency is sufficient.

(5) 	 The test data generated by the third-party testing agency. Submission of the test data is not required if the testing agency is an ANSI-accredited third-party testing agency and the water treatment system was tested for performance in accordance with a standard in Table 1.

(6) 	 The PDS.

(7) 	 Copies of the labels for the water treatment system and for any replaceable components.

(8) 	 Copies of product packaging, product promotional materials, and sales training materials.

(9) 	 A copy of installation and operation guides with identification of replaceable components and replacement frequencies, where applicable.

(10) 	 A nonrefundable initial registration fee of $800 for each water treatment system.

b.   	 A registration issued between July 1 and March 31, inclusive, shall expire on the next June 30. A registration issued between April 1 and June 30, inclusive, shall expire on June 30 of the year after the year in which the registration is issued.

14.6(2) Annual registration. Each calendar year on or before March 1, the department shall notify each manufacturer or the manufacturer’s designated agent of the water treatment systems registered in Iowa and the requirement for renewal of the registration. For each water treatment system that a manufacturer wishes to continue to sell in Iowa, the manufacturer or the manufacturer’s designated agent shall submit the following information to the department on or before May 31 of each calendar year.

a.   	 Certification that there has been no change in the water treatment system's design since the system was tested during the initial registration process.

b.   	 A copy of the current PDS.

(1) 	 A statement that the PDS has not changed since the initial registration or the previous annual registration may be submitted in lieu of the PDS.

(2) 	 Changes on the PDS must be explained and supported by third-party testing results. If the testing was done by an ANSI-accredited third-party testing agency in accordance with a standard(s) in Table 1, documentation of listing by the testing agency is sufficient.

c.   	 A nonrefundable annual registration fee of $400 for each water treatment system.

d.   	 If the annual registration information is sent after May 31, the manufacturer shall pay for each water treatment system a penalty of $50 per month or fraction thereof that the information is late to a maximum of $200 for each water treatment system.

14.6(3) Changes to registration.

a.   	 Modifying one or more contaminant claims, capacity claims, or treatment components of a registered water treatment system without the written approval of the department shall void the registration.

b.   	 The manufacturer shall apply to the department for approval of a change in contaminant claims or capacity claims for a water treatment system, or of changes to the treatment components. The application shall be on a form supplied by the department. The application shall include, but may not be limited to:

(1) 	 The name and address of the manufacturer and the name, address, telephone number, and E-mail address of the manufacturer’s representative.

(2) 	 The brand name, model number, and trade name(s) of the water treatment system.

(3) 	 A description of the changes in claims, capacity, or components.

(4) 	 The third-party testing agency report and data supporting the change in contaminant claims or capacity, or showing equivalent performance for a new treatment component. If the third-party testing agency is ANSI-accredited, a copy of the listing for the water treatment system showing the changes in contaminant claims or capacity, or a statement of equivalent performance by the new treatment component(s) from the testing agency is sufficient.

(5) 	 A revised PDS that meets the requirements of 14.7(2).

(6) 	 Copies of labels, packaging and promotional material that have been revised to reflect the changed claims.

(7) 	 A nonrefundable $100 fee for each water treatment system for which the registration is changed.

c.   	 The manufacturer shall notify the department of any changes to the trade name(s) for a water treatment system. The notification shall include, but may not be limited to:

(1) 	 The original model number(s) and trade name(s) of the water treatment system.

(2) 	 The changed or added model number(s) and trade name(s) for the water treatment system.

(3) 	 A statement that the treatment components and claims are the same between the original and the changed or added trade names.

(4) 	 Copies of the PDS, labels, packaging, and promotional materials showing the changed or added trade name(s).