661—205.15(100) Intermediate care facilities for persons with intellectual disabilities and intermediate care facilities for persons with mental illness.
	205.15(1) New intermediate care facilities. New intermediate care facilities for persons with intellectual disabilities and new intermediate care facilities for persons with mental illness shall comply with the provisions of one of the following:
	a. 	NFPA 101, Life Safety Code, 2012 edition, Chapter 18.
	b. 	NFPA 101, Life Safety Code, 2012 edition, Chapter 32.
	205.15(2) Existing intermediate care facilities. Existing intermediate care facilities for persons with intellectual disabilities and existing intermediate care facilities for persons with mental illness shall comply with the provisions of one of the following:
	a. 	NFPA 101, Life Safety Code, 2012 edition, Chapter 19.
	b. 	NFPA 101, Life Safety Code, 2012 edition, Chapter 33.
Note: Any requirement contained in Chapter 33 that is determined on a rating of evacuation capability shall be based upon an evacuation capability rating of “impractical.” Any provision which depends upon an evacuation rating of “prompt” or “slow” shall be unavailable.
[ARC 3526C, IAB 12/20/17, effective 1/24/18]