567—119.5 (455D,455B) Operational requirements for acceptance of used oil filters. Any person accepting used oil filters from customers shall comply with the following requirements:
	 119.5(1) The used oil filters shall be collected, stored and transported in a container designed and maintained to prevent the spillage or discharge of used oil from the filters.
	 119.5(2) The collection container shall be located on an impervious surface engineered to contain spills.
	 119.5(3) The collection container shall be protected from inclement weather.
	 119.5(4) The collection container shall be clearly labeled “used oil filters.”
	 119.5(5) Used oil filter collectors shall comply with Iowa Code section 455B.386 when actual or imminent oil spills pose a threat to the public health or the environment.
	 119.5(6) Absorbent material shall be available at the site for use by the operator to control spillage or discharge of used oil from the used oil filters.