Senate File 261 - Enrolled

PAG LIN

1	1	SENATE FILE 261

1	2

1	3	AN ACT

1	4 REQUIRING CERTAIN PRIVATE SEWAGE DISPOSAL SYSTEM=RELATED

1	5	INSPECTIONS TO BE CONDUCTED WHEN CERTAIN PROPERTY IS SOLD

1	6	OR TRANSFERRED AND INCLUDING AN EFFECTIVE DATE PROVISION.

1	7

1	8 BE IT ENACTED BY THE GENERAL ASSEMBLY OF THE STATE OF IOWA:

1	9

1 10	Section 1.	Section 455B.172, Code 2007, is amended by

1 11 adding the following new subsection:

1 12	NEW SUBSECTION.	11.	a.	A building where a person

1 13 resides, congregates, or is employed that is served by a

1 14 private sewage disposal system shall have the sewage disposal

1 15 system serving the building inspected prior to any transfer of

1 16 ownership of the building.	The requirements of this

1 17 subsection shall be applied to all types of ownership transfer

1 18 including at the time a seller financed real estate contract

1 19 is signed.	The county recorder shall not record a deed or any

1 20 other property transfer or conveyance document until either a

1 21 certified inspector's report is provided which documents the

1 22 condition of the private sewage disposal system and whether

1 23 any modifications are required to conform to standards adopted

1 24 by the department or, in the event that weather or other

1 25 temporary physical conditions prevent the certified inspection

1 26 from being conducted, the buyer has executed and submitted a

1 27 binding acknowledgment with the county board of health to

1 28 conduct a certified inspection of the private sewage disposal

1 29 system at the earliest practicable time and to be responsible

1 30 for any required modifications to the private sewage disposal

1 31 system as identified by the certified inspection.	Any type of

1 32 on=site treatment unit or private sewage disposal system must

1 33 be inspected according to rules developed by the department.

1 34 For the purposes of this subsection, "transfer" means the

35 transfer or conveyance by sale, exchange, real estate

1 contract, or any other method by which real estate and

2	2 improvements are purchased, if the property includes at least

2	3 one but not more than four dwelling units.	However,

2	4 "transfer" does not include any of the following:

2	5	(1)	A transfer made pursuant to a court order, including

2	6 but not limited to a transfer under chapter 633 or 633A, the

2	7 execution of a judgment, the foreclosure of a real estate

2	8 mortgage pursuant to chapter 654, the forfeiture of a real

2	9 estate contract under chapter 656, a transfer by a trustee in

2 10 bankruptcy, a transfer by eminent domain, or a transfer

2 11 resulting from a decree for specific performance.

2 12	(2)	A transfer to a mortgagee by a mortgagor or successor

2 13 in interest who is in default, or a transfer by a mortgagee

2 14 who has acquired real property at a sale conducted pursuant to

2 15 chapter 654, a transfer back to a mortgagor exercising a right

2 16 of first refusal pursuant to section 654.16A, a nonjudicial

2 17 voluntary foreclosure procedure under section 654.18 or

2 18 chapter 655A, or a deed in lieu of foreclosure under section 2 19 654.19.

2 20	(3)	A transfer by a fiduciary in the course of the

2 21 administration of a decedent's estate, guardianship,

2 22 conservatorship, or trust.

2 23	(4)	A transfer between joint tenants or tenants in common.

2 24	(5)	A transfer made to a spouse, or to a person in the

2 25 lineal line of consanguinity of a person making the transfer.

2 26	(6)	A transfer between spouses resulting from a decree of

2 27 dissolution of marriage, a decree of legal separation, or a

2 28 property settlement agreement which is incidental to the

2 29 decree, including a decree ordered pursuant to chapter 598.

2 30	b.	The inspection requirement of paragraph "a" does not

2 31 apply to a transfer in which the transferee intends to

2 32 demolish or raze the building.	The department shall adopt

2 33 rules pertaining to such transfers.

2 34	c.	At the time of inspection, any septic tank existing as

35 part of the sewage disposal system shall be opened and have

1 the contents pumped out and disposed of as provided for by

3	2 rule.	In the alternative, the owner may provide evidence of

3	3 the septic tank being properly pumped out within three years

3	4 prior to the inspection by a commercial septic tank cleaner

3	5 licensed by the department which shall include documentation

3	6 of the size and condition of the tank and its components at

3	7 the time of such occurrence.

3	8	d.	If a private sewage disposal system is failing to

3	9 ensure effective wastewater treatment or is otherwise

3 10 improperly functioning, the private sewage disposal system

3 11 shall be renovated to meet current construction standards, as

3 12 adopted by the department, either by the seller or, by

3 13 agreement, within a reasonable time period as determined by

3 14 the county or the department, by the buyer.	If the private

3 15 sewage disposal system is properly treating the wastewater and

3 16 not creating an unsanitary condition in the environment at the

3 17 time of inspection, the system is not required to meet current

3 18 construction standards.

3 19	e.	Inspections shall be conducted by an inspector

3 20 certified by the department.

3 21	f.	Pursuant to chapter 17A, the department shall adopt

3 22 certification requirements for inspectors including training,

3 23 testing, and fees, and shall establish uniform statewide

3 24 inspection criteria and an inspection form.	The inspector

3 25 certification training shall include use of the criteria and

3 26 form.	The department shall maintain a list of certified

3 27 inspectors.

3 28	g.	County personnel are eligible to become certified

3 29 inspectors.	A county may set an inspection fee for

3 30 inspections conducted by certified county personnel.	A county

3 31 shall allow any department certified inspector to provide

3 32 inspection services under this subsection within the county's

3 33 jurisdiction.

3 34	h.	Following an inspection, the inspection form and any

35 related reports shall be provided to the county for

1 enforcement of any follow=up mandatory system improvement and

4	2 to the department for record.

4	3	i.	An inspection is valid for a period of two years for

4	4 any ownership transfers during that period.	Title abstracts

4	5 to property with private sewage disposal systems shall include

4	6 documentation of the requirements in this subsection.

4	7	Sec. 2.	EFFECTIVE DATE.	This Act takes effect July 1,

4	8 2009.

4	9

4 10

4 11

4 12	JOHN P. KIBBIE

4 13	President of the Senate

4 14

4 15

4 16

4 17	PATRICK J. MURPHY

4 18	Speaker of the House

4 19

4 20	I hereby certify that this bill originated in the Senate and

4 21 is known as Senate File 261, Eighty=second General Assembly. 4 22

4 23

4 24

4 25	MICHAEL E. MARSHALL

4 26	Secretary of the Senate

4 27 Approved	, 2008

4 28

4 29

4 30

4 31 CHESTER J. CULVER

4 32 Governor