215.4  Tag for inaccurate device — reinspection — fee.
  A commercial weighing and measuring device found to be inaccurate upon inspection by the department shall be tagged “condemned until repaired” and the “licensed for commercial use” inspection sticker shall be removed. If notice is received by the department that the device has been repaired and upon reinspection the device is found to be accurate, the license fee shall not be charged for the reinspection. However, a second license fee shall be charged if upon reinspection the device is found to be inaccurate.
[SS15, §3009-n; C24, 27, 31, 35, 39, §3269; C46, 50, 54, 58, 62, 66, 71, 73, 75, 77, 79, 81, §215.4]
90 Acts, ch 1084, §7