200.14  Rules.

1.  The secretary is authorized, after public hearing, following due notice, to adopt rules setting forth minimum general safety standards for the design, construction, location, installation and operation of equipment for storage, handling, transportation by tank truck or tank trailer, and utilization of anhydrous ammonia.

a.  The rules shall be such as are reasonably necessary for the protection and safety of the public and persons using anhydrous ammonia, and shall be in substantial conformity with the generally accepted standards of safety.

b.  Rules that are in substantial conformity with the published standards of the agricultural ammonia institute for the design, installation and construction of containers and pertinent equipment for the storage and handling of anhydrous ammonia, shall be deemed to be in substantial conformity with the generally accepted standards of safety.

2.  Anhydrous ammonia equipment shall be installed and maintained in a safe operating condition and in conformity with rules adopted by the secretary.

3.  The secretary shall enforce this chapter and, after due publicity and due public hearing, may adopt such reasonable rules as may be necessary in order to carry into effect the purpose and intent and to secure the efficient administration of this chapter.

4.  This chapter does not prohibit the use of storage tanks smaller than transporting tanks nor the transfer of all kinds of fertilizer including anhydrous ammonia directly from transporting tanks to implements of husbandry, if proper safety precautions are observed.

[C46, 50, 54, §200.13; C58, 62, §200.15; C66, 71, 73, 75, 77, 79, 81, §200.14]

98 Acts, ch 1004, §1, 3; 98 Acts, ch 1223, §22, 38; 99 Acts, ch 12, §8; 2009 Acts, ch 133, §76, 210