103.28  Certificate of safe operation — dismissal of condemnation or disconnection order.
  1.  No electrical installation subject to inspection under this chapter shall be newly connected or reconnected for use until the electrical inspector has filed with the electrical utility supplying power a certificate stating that the electrical inspector has approved such energization.
  2.  If the electrical inspector determines that an electrical installation subject to inspection by the board is not in compliance with accepted standards of construction for health safety and property safety, based upon minimum standards adopted by the board pursuant to this chapter, the inspector shall issue a correction order. A correction order made pursuant to this section shall be served personally or by United States mail only upon the licensee making the installation. The correction order shall order the licensee to make the installation comply with the standards, noting specifically what changes are required. The order shall specify a date, not more than seventeen calendar days from the date of the order, when a new inspection shall be made. When the installation is brought into compliance to the satisfaction of the inspector, the inspector shall file with the electrical utility supplying power a certificate stating that the electrical inspector has approved energization.
  3.  An electrical utility supplier may refuse service without liability for such refusal until the provisions of this section have been met.
2007 Acts, ch 197, §38, 50
; 
2008 Acts, ch 1032, §98, 202