214.9  Self-service motor fuel pumps.

A self-service motor fuel pump located at a retail motor fuel site may be equipped with an automatic latch-open device on the fuel dispensing hose nozzle only if the nozzle valve is the automatic closing type.

[C81, §214.9]

87 Acts, ch 93, §6; 2006 Acts, ch 1142, §83; 2008 Acts, ch 1169, §13, 30