137C.16  Plumbing.

1.  A hotel shall have an adequately designed plumbing system conforming to at least the minimum requirements of the state plumbing code. The plumbing system shall have a connection to a municipal water and sewerage system or to a benefited water district or sanitary sewerage district whenever such facilities become available.

2.  A hotel beyond the reach of a central water or sewerage system shall be served by on-site facilities which meet the technical requirements of the local board of health and the department of natural resources.

[S13, §2514-m, 2527-a; C24, 27, 31, 35, 39, §2814, 2815; C46, 50, 54, 58, 62, 66, 71, 73, 75, 77, §170.9, 170.10; C79, 81, §170B.9; 82 Acts, ch 1199, §92, 96]

90 Acts, ch 1204, §38, 66

C91, §137C.16