215.13  Graduations on beam.
  All new weigh beams or dials on what is known as livestock scales used for determining the weight in buying or selling livestock shall be in not over five-pound graduations.
[C50, 54, 58, 62, 66, 71, 73, 75, 77, 79, 81, §215.13]