476.62  Energy-efficient lighting required.
  All public utility-owned exterior flood lighting, including but not limited to street and security lighting, shall be replaced when worn-out exclusively with high pressure sodium lighting or lighting with equivalent or better energy efficiency as approved in rules adopted by the commission.
89 Acts, ch 297, §12; 2024 Acts, ch 1170, §369
Referred to in §474.5, 476.1A, 476.1B
Code editor directive applied