CHAPTER 550

ELECTRICAL INSPECTION PROGRAM—ORGANIZATION AND ADMINISTRATION

Chapter rescission date pursuant to Iowa Code section 17A.7: 1/1/28

661—550.1(103) Electrical inspection program. The electrical inspection program is created as a section in the fire marshal division of the department of public safety. The program is under the supervision of the state fire marshal and shall be headed by a chief electrical inspector. The program shall enforce requirements for electrical installations adopted by the electrical examining board in 661—Chapter 504.

[ARC 2245C, IAB 11/25/15, effective 12/30/15]

661—550.2(103) Communications. The electrical inspection program may be contacted by telephone within Iowa at 866-923-1082 (toll-free) and from outside Iowa at (515)725-6147; or by U.S. mail or in person at the following address:

State of Iowa Electrical Inspection Program

Fire Marshal Division

Iowa Department of Public Safety

State Public Safety Headquarters Building

215 East 7th Street

Des Moines, Iowa 50319

NOTE: The Web site of the electrical inspection program, as of October 29, 2008, is www.dps.state.ia.us/fm/electrical/inspection/.

[Editorial change: IAC Supplement 9/7/11]

661—550.3(103) Organization. The electrical inspection section shall be headed by a chief electrical inspector. Reporting directly to the chief electrical inspector shall be electrical inspector supervisors, each of whom shall head a unit which shall include a number of electrical inspectors assigned by the chief electrical inspector. Each unit supervisor may designate electrical inspectors as lead workers with the approval of the chief electrical inspector and consistent with any applicable rules of the department of administrative services.

[ARC 2245C, IAB 11/25/15, effective 12/30/15]

661—550.4(103) Qualifications of inspectors.

550.4(1) State inspectors. Electrical inspectors, electrical inspector supervisors, and the chief electrical inspector shall be certified as commercial and residential electrical inspectors no later than one year after starting employment in any of these positions.

a.  Certification as inspector. Certification shall be obtained from the International Association of Electrical Inspectors as both a certified electrical inspector–residential and as a certified electrical inspector–master or from the International Code Council as both a residential electrical inspector and a commercial electrical inspector.

b.  Other job requirements. Each of the persons employed in these classifications shall also meet any requirements established by the department of administrative services, human resource enterprise, for the job classification in which the person is employed.

550.4(2) Political subdivision inspectors. A political subdivision that chooses to perform its own inspections on or after January 1, 2014, must require certification of its inspectors as provided in Iowa Code section 103.29.

a.  Certification as inspector. A person who is employed or appointed as an electrical inspector for a political subdivision on or before January 1, 2014, must obtain certification on or before January 1, 2015. A person employed or appointed as an electrical inspector after January 1, 2014, must obtain certification within one year of the appointment date. The board may take action to enforce statutory compliance by the individual or by the political subdivision if a person employed or appointed as an inspector fails to obtain certification within one year of employment or appointment or fails to maintain the required certification while employed as an inspector.

b.  Certification requirements. Certification of electrical inspectors for political subdivisions shall be obtained from the International Association of Electrical Inspectors as a certified electrical inspector–residential or as a certified electrical inspector–master or both or from the International Code Council as a residential electrical inspector or a commercial electrical inspector or both.

c.  Inspections. A political subdivision has the authority to limit an inspector’s duties to only residential inspections or only commercial inspections, so long as the inspector assigned to those duties obtains and maintains the proper certification to conduct the inspections assigned.

d.  Other job requirements. The political subdivision may impose other job requirements consistent with the law and the needs of that political subdivision.

[ARC 2245C, IAB 11/25/15, effective 12/30/15]

661—550.5(103) Fees. The following fees shall apply to services provided by the electrical inspection program:

550.5(1) For each separate inspection of an installation, replacement, alteration, or repair, $25.

550.5(2) For services, change of services, temporary services, additions, alterations, or repairs on either primary or secondary services as follows:

a.  Zero to one hundred ampere capacity, $25 plus $5 per branch circuit or feeder.

b.  One hundred one to two hundred ampere capacity, $35 plus $5 per branch circuit or feeder.

c.  For each additional one hundred ampere capacity or fraction thereof, $20 plus $5 per branch circuit or feeder.

550.5(3) For field irrigation system inspections, $60 for each unit inspected.

550.5(4) For the first reinspection required as a result of a correction order, $50; a second reinspection required as a result of noncompliance with the same correction order, $75; and subsequent reinspections associated with the same correction order, $100 for each reinspection.

550.5(5) When an inspection is requested by an owner, the minimum fee shall be $30 plus $5 per branch circuit or feeder. The fee for fire and accident inspections shall be computed at the rate of $47 per hour, and mileage and other expenses shall be reimbursed.

550.5(6) For installations requiring more than six months in the process of construction and in excess of $300 total inspection fees, the persons responsible for the installation may, after a minimum filing fee of $100, pay a prorated fee for each month and submit it with an order for payment initiated by the electrical inspector.

550.5(7) For issuance of a permit and performance of an initial inspection when an installation has been commenced with no Permit and Inspection Request form having been filed, twice the fees that would have been applicable if a timely request for permit and inspection had been filed.

550.5(8) No fee shall be assessed for the issuance of a permit or the performance of an inspection of a temporary electrical installation if the installation is intended to provide electrical service to an annual event benefitting a nonprofit association representing volunteer emergency service providers.

[ARC 8396B, IAB 12/16/09, effective 2/1/10]

These rules are intended to implement 2007 Iowa Acts, chapter 197.

[Filed 10/29/08, Notice 9/24/08—published 11/19/08, effective 1/1/09]

[Filed ARC 8396B (Notice ARC 8160B, IAB 9/23/09), IAB 12/16/09, effective 2/1/10]

[Editorial change: IAC Supplement 9/7/11]

[Filed ARC 2245C (Notice ARC 2057C, IAB 7/8/15), IAB 11/25/15, effective 12/30/15]