CHAPTER 504
STANDARDS FOR ELECTRICAL WORK
661—504.1(103) Installation requirements. The provisions of the National Electrical Code, 2017 edition, published by the National Fire Protection Association, 1 Batterymarch Park, Quincy, MA 02169-7471, are adopted as the requirements for electrical installations performed by persons licensed pursuant to 661—Chapters 500 through 503 and to installations subject to inspection pursuant to Iowa Code chapter 103 with the following amendments:
	504.1(1) Delete section 210.12(D).
	504.1(2) Delete section 406.4(D)(4).
This rule is intended to implement Iowa Code chapter 103.
[ARC 9825B, IAB 11/2/11, effective 1/1/12; ARC 1715C, IAB 11/12/14, effective 1/1/15; ARC 3466C, IAB 11/22/17, effective 12/27/17]
[Filed emergency 12/17/07—published 1/16/08, effective 1/1/08]
[Filed 10/29/08, Notice 9/24/08—published 11/19/08, effective 1/1/09]
[Filed ARC 9825B (Notice ARC 9630B, IAB 7/27/11), IAB 11/2/11, effective 1/1/12]
[Filed ARC 1715C (Notice ARC 1557C, IAB 7/23/14), IAB 11/12/14, effective 1/1/15]
[Filed ARC 3466C (Notice ARC 3153C, IAB 7/5/17), IAB 11/22/17, effective 12/27/17]