CHAPTER 276

LICENSING OF FIRE PROTECTION SYSTEM TECHNICIANS

Chapter rescission date pursuant to Iowa Code section 17A.7: 5/22/29

661—276.1(100D) Establishment of program. The fire protection system technician license is established pursuant to Iowa Code chapter 100D.

276.1(1) Licensing required. A person shall not act as a fire protection system installer and maintenance worker without being currently licensed as a fire protection system technician by the department, except as provided in Iowa Code sections 100D.2(1) and 100D.11.

a.  For purposes of Iowa Code section 100D.2(1)“a,” “direct supervision” means that the person supervising the person performing the work shall be on the job site while the work being supervised is performed.

b.  For purposes of Iowa Code section 100D.2(1)“d,” the work performed that is subject to the provisions of this chapter must be within the scope of the endorsement(s) of the licensed contractor employing the responsible managing employee.

276.1(2) Endorsement. Any person acting as a fire protection system installer and maintenance worker shall do so only in relation to systems and work covered by the endorsements on the person’s license. The license of each technician shall carry an endorsement for one or more of the following:

a.  Automatic sprinkler system installation.

b.  Special hazards system installation.

c.  Preengineered dry chemical or wet agent fire protection systems installation.

d.  Preengineered water-based fire protection systems in one- and two-family dwellings installation.

e.  Automatic sprinkler system maintenance inspection.

f.  Special hazards system maintenance inspection.

g.  Preengineered dry chemical or wet agent fire protection systems maintenance inspection.

h.  Preengineered water-based fire protection systems in one- and two-family dwellings maintenance inspection, or

i.  Fire protection technician trainee.

276.1(3) Length of licensure. Licensure shall normally be for two years and will expire on March 31 of the second year after the license has been issued. A license that is effective on a date other than April 1 will be effective on the date on which the license is issued and will expire the next March, after one year has passed from the date on which the license was issued. A technician trainee license may be renewed once and a person may work as a technician trainee for a maximum of four years.

[ARC 7874C, IAB 4/17/24, effective 5/22/24]

661—276.2(100D) Definitions. The following definitions apply:

“Aerosol fire extinguishing system” means a system that uses a combination of microparticles and gaseous matter to flood the protected area. The particles are in a vapor state until discharged from the device. On release, a chain reaction produces solid particles and gaseous matter to suppress the fire.

“Apprentice fire protection system installer and maintenance worker” means the same as defined in Iowa Code section 100D.1(1).

“Automatic fire extinguishing system” means the same as defined in Iowa Code section 100C.1(5).

“Automatic sprinkler system” means the same as defined in Iowa Code section 100C.1(6).

“Carbon dioxide extinguishing system” means the same as defined in Iowa Code section 100C.1(7).

“Clean agent” means an electrically nonconducting, volatile, or gaseous fire extinguishant that does not leave a residue upon evaporation.

“Deluge system” means the same as defined in Iowa Code section 100C.1(8).

“Department” means the same as defined in Iowa Code section 100D.1(2).

“Dry chemical” means a powder composed of very small particles, usually sodium bicarbonate-, potassium bicarbonate-, or ammonium phosphate-based, with added particulate material supplemented by special treatment to provide resistance to packing, resistance to moisture absorption (caking), and the proper flow capabilities.

“Dry pipe sprinkler system” means an extinguishing system employing automatic sprinklers that are attached to a piping system containing air or nitrogen under pressure, the release of which (as from the opening of a sprinkler) permits the water pressure to open a valve known as a dry pipe valve, which allows the water to flow into the piping system and out the opened sprinklers.

“Fire extinguishing system contractor,” “fire protection system contractor,” or “contractor” means the same as defined in Iowa Code section 100D.1(4).

“Fire protection system” means the same as defined in Iowa Code section 100D.1(5).

“Fire protection system installation” means the same as defined in Iowa Code section 100D.1(6).

“Fire protection system installer and maintenance worker” or “fire protection system technician” means the same as defined in Iowa Code section 100D.1(8). A fire protection system technician shall be an employee of a fire protection system contractor or, if employed by anyone other than a fire protection system contractor, shall perform work requiring licensing as a fire protection system technician only on property owned or occupied by such employer and may obtain a license if the employer is not a licensed contractor.

“Fire protection system maintenance” means the same as defined in Iowa Code section 100D.1(7).

“Foam extinguishing system” means the same as defined in Iowa Code section 100C.1(11).

“Halogenated extinguishing system” means the same as defined in Iowa Code section 100C.1(12).

“Hybrid-inert water mist system” means a system that combines the benefits of inert gas systems and water mist systems to extinguish fires. These systems provide both extinguishment and cooling to prevent reignition utilizing nontoxic, non-ozone-depleting hybrid media.

“Layout” means drawings, calculations and component specifications to achieve the specified system design installation. “Layout” does not include design.

“Listed” means equipment, materials, or services included in a list published by a nationally recognized independent testing organization concerned with evaluation of products or services that maintains periodic inspection of the production of listed equipment or materials or periodic evaluation of services and whose listing states that either the equipment, material, or service meets appropriate designated standards or has been tested and found suitable for a specified purpose.

“Preengineered dry chemical or wet agent fire suppression system” means any system having predetermined flow rates, nozzle pressures and limited quantities of either agent. These systems have specific pipe sizes, maximum and minimum pipe lengths, flexible hose specifications, number of fittings and number and types of nozzles prescribed by a nationally recognized testing laboratory. The hazards against which these systems protect are specifically limited by the testing laboratory as to the type and size based upon actual fire tests. Limitations on hazards that can be protected against by these systems are contained in the manufacturer’s installation manual, which is referenced as part of the listing.

“Preengineered fire protection system” means the same as defined in Iowa Code section 100D.1(9).

“Preengineered water-based fire protection system” means a packaged, water-based sprinkler system including all components connected to a water supply and designed to be installed according to pretested limitations.

“Responsible managing employee” means the same as defined in Iowa Code section 100D.1(10).

“Routine maintenance” means the same as defined in Iowa Code section 100D.1(11).

“Special hazards system” means a fire extinguishing system utilizing fire detection and control methods to release an extinguishing agent, other than water connected to a dedicated fire protection water supply.

“Wet agent” or “wet chemical” means an aqueous solution of organic or inorganic salts or a combination thereof that forms an extinguishing agent.

[ARC 7874C, IAB 4/17/24, effective 5/22/24]

661—276.3(100D) Licensing requirements. A fire protection system installer and maintenance worker shall meet all of the following requirements in order to receive a license from the department and shall continue to meet all requirements throughout the period of licensure. A licensee shall notify the department, in writing, within 30 calendar days if the licensee fails to meet any requirement for licensure.

276.3(1) Compliance. Each licensee shall maintain compliance with all other applicable provisions of law related to operation in the state of Iowa and in any political subdivision in which the licensee is performing work.

276.3(2) Training requirements. An applicant for a license shall meet one of the requirements for the following endorsements:

a.  Automatic sprinkler system installation:

(1)  Current certification by the National Inspection Testing and Certification Corporation (NITC) in the STAR Fire Sprinkler Fitting Mastery Examination, or

(2)  Current certification by the National Institute for Certification in Engineering Technologies (NICET) at level I or above in water-based system layout, or

(3)  Current certification by the NICET at level I or above in inspection and testing of water-based systems.

b.  Special hazards system installation:

(1)  Current certification by the NICET at level I or above in special hazards systems.

(2)  Reserved.

c.  Preengineered dry chemical or wet agent fire protection system installation:

(1)  Current certification by the NICET at level I or above in special hazard systems, or

(2)  Current certification by the National Association of Fire Equipment Distributors (NAFED) in preengineered kitchen fire extinguishing systems, preengineered industrial fire extinguishing systems, or both, or

(3)  Satisfactory completion of any training required by the manufacturer for the installation of any system the technician installs, or

(4)  Current certification by the Fire Protection Certification LTD (FPC) in commercial kitchen fire suppression system service, preengineered fire suppression maintenance, or both.

d.  Preengineered water-based fire protection systems in one- and two-family dwellings installation:

(1)  Current certification by the NICET at level I or above in special hazard systems, or

(2)  Satisfactory completion of any training required by the manufacturer for the installation of any system the technician installs.

e.  Automatic sprinkler system maintenance inspection:

(1)  Current certification by the NITC in the STAR Fire Sprinkler Fitting Mastery Examination, or

(2)  Current certification by the NICET at level I or above in water-based systems layout, or

(3)  Current certification by the NICET at level I or above in inspection and testing of water-based systems.

f.  Special hazards system maintenance inspection:

(1)  Current certification by the NICET at level I or above in special hazard systems.

(2)  Reserved.

g.  Preengineered dry chemical or wet agent fire protection system maintenance inspection:

(1)  Current certification by the NICET at level I or above in special hazard systems, or

(2)  Current certification by the NAFED in preengineered kitchen fire extinguishing systems, preengineered industrial fire extinguishing systems, or both, or

(3)  Satisfactory completion of any training required by the manufacturer for maintenance and inspection of any system the technician inspects, or

(4)  Current certification by the FPC in commercial kitchen fire suppression system service, preengineered fire suppression maintenance, or both.

h.  Preengineered water-based fire protection systems in one- and two-family dwellings installation:

(1)  Current certification by the NICET at level I or above in special hazard systems, or

(2)  Satisfactory completion of any training required by the manufacturer for maintenance and inspection of any system the technician inspects.

i.  Fire protection system technician trainee: Submission of a completed application no later than the first day of employment. A fire protection system technician trainee may perform work that requires licensure under this chapter only under the direct supervision of a licensed fire protection system technician or responsible managing employee whose license contains one or more endorsements as provided in subrule 275.1(2) or 276.1(2), and that work must be within the scope of work authorized by the endorsements held by the supervising fire protection system technician or responsible managing employee. At least one licensed fire protection system technician or responsible managing employee must be present for every three apprentice fire protection system installers and maintenance workers or fire protection system technician trainees performing work related to fire protection systems.

276.3(3) Continuing education. A license may be renewed only if the licensee has completed recertification of the applicable certification requirements relative to the endorsement(s) for which the license is being renewed.

276.3(4) Training or testing approval. Satisfactory completion of an applicable training or testing program approved by the department may replace any of the endorsement requirements of subrule 276.3(2). In any case in which training or testing that is offered to satisfy the requirements of this rule is required to be approved by the department, such approval is required prior to acceptance of the training or testing to meet licensure requirements. Approval by the department of any training or testing to meet these requirements may be sought by the individual, firm, or organization providing the testing or training or initiated by the department. Any individual, firm, or organization seeking to obtain such approval may apply to the department no later than July 1 every odd-numbered year. Program information and any other documentation requested by the department for consideration shall be submitted to the department. Training and testing approved by the department will be listed on the department’s licensing website.

276.3(5) License applicability. Work performed by a technician or trainee subject to these rules shall be limited to areas of competence indicated by the specific endorsement(s) identified on the license. Work performed in the state shall not begin prior to:

a.  Receipt of a new or renewed license issued by the department to the applicant, or

b.  Receipt of written approval to perform work prior to issuance of a new or renewed license from the department to the applicant.

276.3(6) Portable fire extinguisher requirements. Nothing in this rule shall be interpreted to conflict with or diminish any requirement for training or certification for anyone installing or servicing a fire extinguishing system or portable fire extinguisher set forth in any rule of the department or local fire ordinance or standard adopted by reference therein.

276.3(7) Licensure of persons licensed in other jurisdictions. A fire protection system technician license may be issued without examination to a person licensed in other jurisdictions if the conditions of Iowa Code section 272C.12 are met.

276.3(8) Veterans and active duty military. Any individual serving honorably on federal active duty, state active duty, or national guard duty, as defined in Iowa Code section 29A.1, should apply for licensure following 481—Chapter 7.

[ARC 7874C, IAB 4/17/24, effective 5/22/24]

661—276.4(100D) Application and fees.

276.4(1) Application. Any person seeking licensure as a fire protection system technician shall submit a completed application form to the department. The application shall be filed no later than 30 days prior to the date of beginning work in this state or the date on which an existing license expires. An application form may be obtained from the department or from the department’s website. The application form shall be submitted with all required attachments and license fee. An application is not complete unless all required information is submitted, including required attachments and fees, and will not be processed until it is complete.

276.4(2) License fee.

a.  The fee for a permanent or provisional license, except for a trainee license, is $200. If an application for a license provides for more than one endorsement as provided in subrule 276.1(2), there will be an additional fee of $25 for each endorsement beyond the first.

b.  The fee for a fire protection system technician trainee license is $100.

c.  The department will waive any fee charged to an applicant for a license if the applicant’s household income does not exceed 200 percent of the federal poverty income guidelines and the applicant is applying for the license for the first time in this state.

276.4(3) Payment. The license fee shall be submitted electronically, or mailed or hand-delivered by draft, check, or money order in the applicable amount payable to the Iowa Department of Inspections, Appeals, and Licensing. Cash payments are not accepted.

276.4(4) Amended license.

a.  The fee for issuance of an amended license is the difference between the original license fee paid and changes in endorsement(s), if applicable. The fee shall be submitted with a request for an amended license.

b.  A licensee will request and the department will issue an amended license for any of the following reasons, and a fee does not apply:

(1)  A change in employer. A licensee may only transfer the licensee’s technician license to another employer if the licensee paid the license fee at the time of original application. If the licensee’s previous employer paid the license fee, the licensee must reapply for a new license under the licensee’s new employer and pay the license fee.

(2)  A change in any other material information included in or with the initial or renewal application. A change of address is a material change.

c.  Other changes in the information required in the application form, including renewal of insurance coverage with a new expiration date, shall be reported to the department but will not require issuance of an amended license or payment of the amended license fee.

276.4(5) Attachments. Required attachments to the application for a license are outlined on the department’s website.

[ARC 7874C, IAB 4/17/24, effective 5/22/24]

661—276.5(100D) Complaints. Complaints regarding the performance of any licensed fire protection system technician, failure of a licensee to meet any of the requirements established in Iowa Code chapter 100D or this chapter or any other provision of law, or persons operating as fire protection system installers and maintenance workers without licensure may be submitted to the department. Complaints should be as specific as possible and clearly identify the licensee or other person against whom the complaint is filed. A complaint may be submitted anonymously, but if the name and contact information of the complainant are provided, the complainant will be notified of the disposition of the complaint.

[ARC 7874C, IAB 4/17/24, effective 5/22/24]

661—276.6(100D) Denial, suspension, or revocation of licensure; civil penalties; appeals. If a licensee or person who performs work requiring a license violates any provision of these rules or any other provision of law related to work requiring licensure pursuant to this chapter, the department may deny, suspend or revoke a license or assess a civil penalty to a licensee or to a person who performs work requiring licensure pursuant to this chapter and who is not licensed.

276.6(1) Denial. The department may deny an application for licensure:

a.  If the applicant makes a false statement on the application form or in any other submission of information required for licensure. “False statement” means providing false information or failing to include material information, such as a previous criminal conviction or action taken by another jurisdiction, when requested on the application form or otherwise in the application process.

b.  If the applicant fails to meet all of the requirements for licensure established in this chapter.

c.  If the applicant is currently barred for cause from licensure equivalent to that provided for in this chapter in another jurisdiction.

d.  If an applicant has previously been barred for cause from operating in another jurisdiction as a fire protection system installer and maintenance worker and if the basis of that action reflects upon the integrity of the applicant in operating as a fire protection system installer and maintenance worker. If an applicant is found to have been previously barred for cause from operating as a fire protection system installer and maintenance worker in another jurisdiction and is no longer barred from doing so, the department will evaluate the record of that action with regard to the likelihood that the applicant would operate with integrity as a licensee. If an applicant is denied licensure under this paragraph, the applicant will be notified of the specific reasons for the denial.

e.  Conviction of a felony offense, if the offense directly relates to the profession or occupation of the licensee, in the courts of this state or another state, territory or country. “Conviction” as used in this subrule includes a conviction of an offense that if committed in this state would be a felony without regard to its designation elsewhere, and includes a finding or verdict of guilt made or returned in a criminal proceeding even if the adjudication of guilt is withheld or not entered. A certified copy of the final order or judgment of conviction or plea of guilty in this state or in another state constitutes conclusive evidence of the conviction. If an applicant is denied licensure under this paragraph, the applicant will be notified of the specific reasons for the denial.

f.  Knowingly making misleading, deceptive, untrue or fraudulent representations in the practice of the licensee’s profession or engaging in unethical conduct or practice harmful or detrimental to the public. Proof of actual injury need not be established.

g.  Willful or repeated violations of the provisions of this chapter.

276.6(2) Suspension. A suspension of a license may be imposed by the department for any violation of these rules or Iowa Code chapter 100D or for a failure to meet any legal requirement to operate as a fire protection system installer and maintenance worker in this state. Failure to provide any notice to the department as required by these rules may be grounds for suspension. An order of suspension will specify the length of the suspension and will specify that correction of all conditions that were a basis for the suspension is a condition of reinstatement of the license even after the period of the suspension.

276.6(3) Revocation.

a.  A revocation is a termination of a license. A license may be revoked by the department for repeated violations or for a violation which creates an imminent danger to the safety or health of individuals protected by a fire protection system incorrectly installed by a licensee or when information comes to the attention of the department which, if known to the department when the application was being considered, would have resulted in denial of the license.

b.  A new application for a license from an applicant whose license has previously been revoked will not be considered for a period of one year after the effective date of the revocation and, in any event, until every condition that was a basis for the revocation has been corrected. The department may specify in the revocation order a period longer than one year before a new application for a license may be considered. When a new application for a license from a person whose license was previously revoked is being considered, the applicant may be denied a license based upon the same information that was the basis for revocation even after any such period established by the department has expired.

276.6(4) Disqualifications for criminal convictions limited. A person’s conviction of a crime may be grounds for the denial, revocation, or suspension of a license in circumstances authorized by Iowa Code section 272C.15.

276.6(5) Civil penalties. The department may impose a civil penalty of up to $500 per day during which a violation has occurred and for every day until the violation is corrected. A civil penalty may be imposed in lieu of or in addition to a suspension or may be imposed in addition to a revocation. A civil penalty will not be imposed in lieu of a revocation.

276.6(6) Appeals. Any denial, suspension, or revocation of a license, or any civil penalty imposed upon a licensee or other person under this rule may be appealed within 14 days of receipt of the notice by submitting a written request for a contested case appeal to the department. An appeal is subject to the provisions of 481—Chapters 9 and 10 governing contested cases.

[ARC 7874C, IAB 4/17/24, effective 5/22/24]

These rules are intended to implement Iowa Code chapter 100D.

[Filed ARC 9032B (Notice ARC 8855B, IAB 6/16/10), IAB 8/25/10, effective 10/1/10]1

[Editorial change: IAC Supplement 10/6/10]

[Filed ARC 5396C (Notice ARC 5273C, IAB 11/18/20), IAB 1/13/21, effective 2/17/21]

[Filed ARC 7874C (Notice ARC 7335C, IAB 1/24/24), IAB 4/17/24, effective 5/22/24]

October 1, 2010, effective date of 276.3(1) delayed 70 days by the Administrative Rules Review Committee at its meeting held September 14, 2010.