CHAPTER 321

STATE BUILDING CODE—FACTORY-BUILT STRUCTURES

[Transferred from O.P.P., ch 5, See IAB 7/6/83]

[Prior to 4/20/88, see Public Safety Department[680] Ch 16]

[Prior to 11/26/25, see Public Safety Department[661] Ch 16]

Chapter rescission date pursuant to Iowa Code section 17A.7: 9/10/30

481—321.1 to 321.609Reserved.

PART 1—MODULAR FACTORY-BUILT STRUCTURES

481—321.610(103A) “Modular factory-built structures.” Part 1 of this chapter contains the rules and regulations applicable to all factory-built structures that are not specifically included in Part 2.

321.610(1) Authority to promulgate rules. Provisions contained within all of Part 1 are authorized under Iowa Code section 103A.9.

321.610(2) Scope and applicability. The provisions contained within Part 1 apply to the following:

a.  Plan evaluation, manufacture, inspection, and installation of “modular factory-built structures,” of closed-type construction and of open-type construction for those manufacturers who have by option chosen to have their building component, assembly or system considered to be closed construction.

b.  Approval by the commissioner or the commissioner’s designated representative of an organization or person referred to as a third-party agent, or independent inspection agency.

c.  All “modular factory-built structures” manufactured for installation in Iowa after February 1, 1973.

321.610(3) Definitions. The definitions set forth in Iowa Code sections 103A.3 and 103A.51 and rule 481—301.2(103A) are incorporated herein by reference. The following definitions also apply:

“Certificate of compliance.” A certification that is filed with the commissioner that indicates that the third-party agency has approved specific models or model groups of factory-built structures as meeting the state building code. (More information contained in paragraph 321.610(14)“d” and subrule 321.610(17).)

“Closed construction.” Any structure, building, component, assembly or system manufactured in such a manner that all portions cannot be readily inspected at the installation site without disassembly, damage to, or destruction thereof.

“Code compliance certificate.” The certificate prepared by an approved manufacturer and submitted by the manufacturer for each unit that is to be installed in Iowa and includes an Installation Certificate. (More information contained in subrules 321.610(19) and 321.610(20).)

“Commercial modular.” A modular factory-built structure that is not a modular home.

“Component.” Any part, material or appliance that is built in as an integral part of the factory-built structure during the manufacturing process, or any factory-built system, subsystem or assembly not approved as part of a unit, section, or module.

“Evaluation or inspection agency.” An approved person or organization, private or public, determined by the commissioner to be qualified by reason of facilities, personnel, experience and demonstrated reliability and independence of judgment, to investigate, evaluate and approve factory-built structures or buildings, building components, building systems, and compliance assurance programs.

“Factory-built structure.” Any structure, building, component, assembly or system that is of closed construction and that is made or assembled in manufacturing facilities, on or off the building site, for installation or assembly and installation, on the building site. Factory-built structures may also mean, at the option of the manufacturer, any structure or building of open construction, made or assembled in manufacturing facilities away from the building site, for installation, or assembly and installation, on the building site. Factory-built structure also means “factory-built unit.”

“Independence of judgment” means not being affiliated with or influenced by or controlled by building manufacturers or producers, suppliers, or vendors of products or equipment used in factory-built structures or buildings and building components in any manner that is likely to affect their capacity to tender reports and findings objectively and without bias.

“Manufacturer’s bill of sale.” Any document, certificate, sales receipt, etc., signed by the manufacturer or importer that the modular factory-built structure described has been transferred to the person or dealer named. The document shall have attached a copy of the 3A section of the Code Compliance Certificate or shall contain at least the make, model year, manufacturer’s serial number, Iowa model approval number and the code compliance seal number of the unit.

“Model or model groups.” One or more manufacturer-designed modular homes that can constitute one model group.

“Modular.” A general term to describe factory-built structures that are not manufactured homes or manufactured home add-on units. Modular includes but is not limited to panelized units, components, sections and modules.

“Module.” A unit or a section that is assembled in its final form and transported in such a manner.

“Open construction.” Any structure, building, component, assembly or system manufactured in such a manner that all portions can be readily inspected at the installation site without disassembly, damage to, or destruction thereof.

“Residential modular” or “modular home.” Modular factory-built structure used as a one- or two-family dwelling.

“Seal” or “insignia.” A device or insignia issued to the manufacturer by the commissioner for affixing to a factory-built structure or system evidencing compliance with the code.

“Section.” A division of a factory-built structure that must be combined with other sections to form a complete structure.

“Temporary field construction office.” A factory-built structure used at a construction site as an office facility by the personnel engaged in the construction of another structure or project. The intent of this structure is to remain on the job site only as long as necessary during the construction and then be removed before construction is completed.

“Testing agency.” An organization approved by the commissioner that:

1.   Is qualified and equipped for the testing, observation, evaluation, or approval of building components, construction, materials, equipment, or systems as regulated by approved standards;

2.   Is not under the jurisdiction, affiliation, influence, or control of any manufacturer or supplier of any industry;

3.   Makes available a published report in which specific information is included certifying that the equipment and installations listed or labeled have been tested and found acceptable according to approved standards.

“Third-party agency.” An approved person or organization, private or public, determined by the state building code commissioner to be qualified to act as an evaluation, inspection, testing, or listing agency, as defined in this section.

“Unit.” A single factory-built structure approved by the state building code commissioner. Units may be combined to form a larger complex structure or may be a combination of sections.

321.610(4) Administration. This section covers the basic requirements for constructing modular structures and all of the administrative procedures under which the modular program functions including methods of certification approval and manufacturing requirements, inspection and installation.

321.610(5) Modular construction requirements. All modular factory-built structures shall be constructed in accordance with the following provisions in 481—Chapter 301, as applicable: rules 481—301.3(103A), 481—301.4(103A), 481—301.5(103A), 481—301.6(103A), and 481—301.8(103A); Part 2; and Part 3.

321.610(6) Modular installation requirements. All modular factory-built structures shall be installed according to the manufacturer’s approved installation drawings and any additional state-approved requirements. All approvals shall be part of the third-party certification agency approval for their respective manufacturer. All installations shall comply with local building codes for items not included as part of the state approval and local zoning requirements whenever applicable.

Modular installation seals shall be obtained and attached upon completion and the installation certificate completed and filed pursuant to subrule 321.610(20).

321.610(7) Procedures for approval. Approval procedures shall meet the following criteria:

The manufacturer contracts with third-party agencies for third-party approvals and notifies the commissioner of the intent to manufacture units to be installed in Iowa and the name of the third party or parties to be used.

The third-party agency notifies the commissioner that it has entered into a contract to perform services with the manufacturer.

Third-party approvals are required for plan and design approval, plant facilities approval and a continuing inspection of units during manufacture.

The manufacturers submit plans to the third-party agency or agencies for review and approval. After the plans, the plant facilities, and an inspection procedure have been approved by the third-party agency, the manufacturer submits a compliance certificate on the form supplied by the commissioner for each model or model group. The commissioner will assign an Iowa approval number for those models included in the approval.

At the time of production of units for installation in Iowa the manufacturer obtains from the commissioner Iowa insignia seals for manufacture and installation, to be attached to the units at the time of manufacture and installation, as well as code compliance and installation certificates.

321.610(8) Requirements and procedures for obtaining third-party agency approval.

a.  The commissioner or the commissioner’s designated representative will be responsible for approving any person, state or organization who applies to the commissioner for approval and whose application is accompanied by written material evidencing that said agency is:

(1)  Capable of discharging without bias the responsibilities assigned by these regulations.

(2)  Not under the jurisdiction or control of any manufacturer or supplier of any industry.

(3)  Professionally competent with independence of judgment to perform the function for which commissioned.

(4)  Qualified to submit all findings regarding code compliance in a detailed report to the commissioner.

(5)  Willing to be inspected and reviewed by the commissioner for all phases of work.

b.  The commissioner may limit the agencies’ approval to particular types of factory-built structures, buildings, building systems, components, assemblies or systems.

c.  Other states wishing to exercise application with this state in order to act in the capacity of an approved third-party agency, may do so provided that:

(1)  The state laws for issuing seals or insignia for code compliance are substantially similar to those specified in this code.

(2)  The conditions in subparagraph 321.610(8)“c”(1) are enforced in their state.

(3)  Other states agree to monitoring of this reciprocal agreement by representatives of this state assigned by the commissioner.

(4)  Violations of any condition as part of the reciprocal agreement may be deemed just cause for revocation or suspension of this agreement by the commissioner.

321.610(9) Third-party agency responsibilities. Third-party approval agencies shall satisfy the following criteria:

a.  Evidence of approval by the state are on file at each manufacturing facility.

b.  Notification to the commissioner when they have contracted with a manufacturer to serve as their third-party agency.

c.  Manufacturer plans and specifications are approved by the third-party agency.

d.  File of all plans and documents are maintained at each manufacturing facility and in the third-party agency office.

e.  Send a report to the commissioner stating that the plans and specifications comply with the Iowa state building code.

(1)  Plans and specifications are not necessary for submittal with this report.

(2)  A list of approved models for each manufacturing facility.

(3)  Verify that all engineering documents have been signed by a registered engineer or architect.

(4)  Update the report as necessary.

(5)  Indicate approval of installation procedures for all of these structures as well as the personnel who will be doing the installation. Installation of factory-built structures comply, in addition to provisions of this code, with any local ordinances that apply. (That is, those construction processes that are not included as part of the state approval.)

f.  Notify the manufacturer of plans and specifications approval including model numbers for use in preparing certificates of compliance.

g.  Inspect manufacturing facilities and review or establish a quality control program and test procedure.

h.  Notify the manufacturer of facilities approval for use in preparing certificates of compliance.

i.  Prepare an inspection manual to be used by the third-party inspectors and the commissioner, maintained on file at each manufacturing facility.

j.  Report to the state outlining in-plant procedures and include a typical inspection checkoff sheet.

k.  Notify the manufacturer when in-plant inspection program is in force for use in preparing certificates of compliance.

l.  Report each quarter to the state for each manufacturer and submit information as follows:

(1)  Account for all Iowa seals used by each manufacturer during the quarter.

(2)  Manufacturer’s serial number and model number.

(3)  Third-party seal number.

(4)  Iowa seal number.

(5)  The portion of the unit that was actually inspected during an in-plant inspection.

321.610(10) Third-party agency documentation and plan verification. The third-party agency is responsible for the investigation, evaluation, review of test results, of plans and documents, and each revision thereto submitted to the agency by the manufacturer with which it has a contract for compliance with applicable requirements set forth in this code. Such a review shall include but not be limited to:

a.  All documentations and plans indicate the manufacturer’s name, office address, and manufacturing facility address.

b.  Manufacturer’s plans show all elements relating to specific systems on drawings properly identifiable.

c.  Each plan that contains material requiring engineering evaluation bears the signature and seal of a registered architect or engineer.

d.  The plans indicate the method of evaluation and inspection for all required on-site testing of each system.

e.  Plans designate all work to be performed on site, including all system connections, equipment and appliances and all work performed within the plant.

f.  Space is provided on all sheets of plans near the title box for the approved stamp.

g.  Individual system design or any structural design or method of construction and data complies with the Iowa state building code. Plumbing, electrical, heating and mechanical systems constitute individual system designs.

h.  Grade, quality, and identification of all materials are specified.

i.  Design calculations and test reports are submitted when specified or required.

j.  Plans are drawn to scale.

k.  Plans indicate the location of the approved seal and data plate locations.

l.  Copies of approved plans showing third-party agency approval are on file at each manufacturing facility or made readily available.

m.  Review and approval of all installation procedures conforms to the following:

(1)  Crews performing installation that are under the jurisdiction of the unit manufacturer or the manufacturer’s designee are approved as competent by the authorized third-party agency.

(2)  Copies of the installation manual are available during installation for use by the commissioner or the commissioner’s representative or by the local building official.

321.610(11) Third-party agency plant investigation for quality control. All manufacturing facilities shall be inspected to the performance objectives as stated in the Iowa state building code. These include as follows:

a.  Review of the manufacturer’s quality control manuals or establishing a quality control procedure to ensure code compliance.

b.  Implementation of inspection and test procedures that will control the quality of fabrication and workmanship.

c.  Making a complete report to the commissioner that includes certification of all manufacturing procedures.

321.610(12) Third-party agency in-plant inspections. To ensure compliance with the approved specifications and plans and the Iowa state building code and in conjunction with monitoring each manufacturer’s quality control program, every approved third-party agency shall:

a.  Maintain a record of inspections, with such records including the seal report and reported to the commissioner every quarter.

b.  Witness and verify all required testing in accordance with the quality control manual.

c.  Certify that all seals are being attached as required and only after each unit meets the code requirements.

d.  Prepare a detailed inspection manual that specifies the third-party agency procedures in making the required inspections, which will be available for use by the commissioner or the commissioner’s representative when periodic monitoring is performed.

e.  Inspect some part of every unit, although 100 percent inspection is not necessary. A complete inspection of a typical structural, plumbing, heating and electrical system shall be made each visit to the manufacturing facility.

321.610(13) Reapproval of third-party agencies. Any agency approved by the commissioner or the commissioner’s designated representative must file for reapproval annually. Such application for reapproval may be filed at any time from the forty-fifth day prior to the scheduled annual expiration date of the current approval. The applying third-party agency seeking reapproval shall completely and accurately update all information previously submitted to the commissioner or the commissioner’s representative as part of its original application for approval and all subsequent applications for reapproval. The application for reapproval will become a permanent record of the department administering the provisions of the code. Should there be no change in the status of the applying agency from its original application, an affidavit to that effect will suffice for consideration of approval.

321.610(14) Requirements and procedures for modular manufacturers. Every modular manufacturer shall perform or meet the following:

a.  Be responsible for all corrective actions required. The contractual agreement that each has with the approved third-party agency does not diminish this responsibility.

b.  Notify the commissioner that the manufacturer’s facility desires to construct units that are to be installed in the state of Iowa.

c.  Contract with an approved third-party agency to perform all duties listed in subrules 321.610(9), 321.610(10), 321.610(11), and 321.610(12). The commissioner will furnish a list of approved third-party agencies upon request.

d.  File certificates of compliance with the commissioner for each model or model group after all third-party reviews are completed; whenever additional models or changes are proposed, file additional certificates of compliance or request that additions be made to existing model lists.

e.  Purchase Iowa seals from the office of the commissioner in accordance with requirements of subrule 321.610(22).

f.  All units or sections have seals if manufactured after February 1, 1973, and if they are to be installed in Iowa. Regardless of manufactured date, all units being installed in Iowa for the first time have a seal attached.

g.  Complete and furnish compliance certificates and installation certificates in accordance with the requirements of subrules 321.610(19) and 321.610(20).

321.610(15) Manufacturer’s data plate for modular units. The following information shall be placed directly or by reference on one or more permanent manufacturer’s data plates in the vicinity of the electrical distribution panel box or in some other designated location that is readily accessible for inspection.

a.  Manufacturer’s name and address.

b.  Serial number of the structure or unit.

c.  Model designation and name of each of the manufacturers of major factory-installed appliances.

d.  Wherever applicable, identification of permissible type of gas for appliance and direction for water and drain connections.

e.  Name and date of the standards complied with in construction of this structure or unit.

f.  The seal serial number.

g.  Design loads and special conditions or limitations.

h.  Date of manufacture.

i.  Electrical ratings. Instructions and warnings on voltage, phase size and connections of units and grounding requirements.

321.610(16) Changes and alterations to factory-built structures.

a.  Changes to approved plans, drawings or installation instructions proposed by the manufacturer or third-party agency are to be requested in writing and submitted to the commissioner. All work being performed in the manufacturing plant that is affected by these changes will not proceed until written approval is received from the commissioner. Where these changes do not affect code compliance, then approval is permitted when changes are authorized through the third-party agency and said changes are then incorporated into the design documents.

b.  The commissioner will notify the manufacturer and the third-party agency of all amendments, deletions or additions to the code provisions and the commissioner will allow the manufacturer a reasonable time frame in which to submit a request for a change in plan approval, if required, in order to conform to the code change.

c.  Basic changes in manufacturing facility locations, company name or address changes, and changes resulting in companies changing ownership or dissolving their business are all to be reported promptly to the commissioner and the third-party agency, in writing, generally within a two-week period after said change was made.

d.  Alterations to factory-built structures pursuant to the construction, plumbing, heat producing, electrical equipment or installation or fire safety in a unit after an Iowa seal has been affixed are all considered to be subject to the same requirements that exist for any structure within the local jurisdiction.

e.  The following do not constitute an alteration to a factory-built structure.

(1)  Any repairs to approved component parts.

(2)  Conversion of listed fuel-burning appliances in accordance with the terms of their listing.

(3)  Adjustment and maintenance of equipment installed in the factory-built structure.

(4)  Replacement of equipment in kind.

321.610(17) Certificate of compliance. The manufacturer shall provide the commissioner with a certificate of compliance for each model or model group of the approved modular design that includes the following:

a.  Model or model group number that will appear on the data plate and compliance certificate.

b.  The signature of an authorized representative of the manufacturer.

c.  The name of the third-party agency certifying compliance with the code, for each of the three certifications.

d.  Evidence of code compliance certified by the third-party agencies, for the specific model or model group being submitted.

321.610(18) Limitations. For all types of structures other than modular homes, there shall be, with the certificate of compliance, an attached statement that sets out the limitations of the structure based on site conditions, type of construction, area, and height limitations. A statement to the effect that the structure should not be used except where it meets these conditions will not be acceptable.

321.610(19) Code compliance and installation certificates. Code compliance and installation certificates approved for use are available at the website of the building code bureau when seals are purchased pursuant to subrule 321.610(22). The manufacturer shall complete the certificate and distribute it as follows:

a.  A copy returned to:

State Building Code Bureau

Department of Inspections, Appeals, and Licensing

6200 Park Avenue

Des Moines, Iowa 50321

b.  A copy retained for plant records and to be used to make additional copies if necessary, including an additional copy to accompany other shipping documents carried by the transporter and to be available for inspection by any authorized official or department.

c.  A copy of the compliance certificate forwarded to the dealer, distributor, or any other person who is required to obtain a local building permit or to oversee installation.

321.610(20) Installation certificates. The installation certificate portion of the supplied combination certificate (subrule 321.610(19)) shall be partially completed by the manufacturer at the same time the code compliance certificate is prepared and made part of the documents shipped with the unit and completed by the local building official or the installer.

a.  When a building permit is required, a copy of the code compliance certificate shall be presented to the local building official at the time application for a permit is made. The building official shall sign the certificate and send a copy to the commissioner at the address designated in this rule.

b.  When a building permit is not required, the code compliance certificate shall be signed by the installer and forwarded to the commissioner at the address designated in this rule.

321.610(21) Certification seals. There shall be two seals attached to every factory-built structure that is installed in Iowa as follows:

a.  Every module, unit, section, or component has a state compliance seal securely affixed at the manufacturing facility to show that the manufactured unit complies with the code. When components and systems are included within a module, section or unit and have been approved by the third-party agency to be part of that module, section or unit, only one seal is necessary for the module, section, or unit. A series of panels that make up the final unit when assembled at the site, and where approved in that manner, need only one seal.

b.  Every completed unit when installed at the final site has an installation seal attached to show that the installation complies with the requirements of this code.

321.610(22) Compliance seals.

a.  Compliance seal issuance. The state compliance seal will be issued by the commissioner upon application and after approval of the plans and manufacturing procedures has been certified by the third-party agency evidencing compliance with this code. Applications for compliance seals shall be made to the commissioner on the supplied form and include the following:

(1)  Number of seals requested.

(2)  Iowa model or system approval numbers.

(3)  Reference to approval of manufacturing procedures and third-party agency or agencies involved.

(4)  A statement by the applicant that consent is given for inspection and investigation at all reasonable hours.

(5)  Applicable compliance seal fees.

b.  Compliance seal reporting. Manufacturers shall notify the commissioner monthly of the use of seals by the manufacturers’ facilities, on a form approved by the commissioner and containing adequate information to determine the following:

(1)  Compliance seal number.

(2)  Serial number of the unit on which the seal was placed.

(3)  Make and model of the unit on which the seal was placed.

(4)  Number of sections that comprise the finished unit.

(5)  Location to which the unit was shipped.

321.610(23) Number of compliance seals required. Each modular building shall have a compliance seal attached to every section or unit of the building.

321.610(24) Compliance seal placement on modular units. Every compliance seal shall be assigned and securely affixed to a specific section or unit in a readily visible location. Assigned seals are not transferable and are void when not affixed as assigned. All seals not properly affixed shall be returned to or may be confiscated by the commissioner. The seal remains the property of the commissioner in the event of violation of the conditions of approval.

321.610(25) Denial and repossession of seals. Should investigation or inspection reveal that a manufacturer is not constructing modular units in accordance with the plans approved by the third-party agency, and such manufacturer, after having been served with a notice setting forth in what respect the provisions of these rules and the code have been violated, continues to manufacture units in violation of these rules and the code, applications for new seals will be denied and the seals previously issued will be confiscated. Upon satisfactory proof of compliance, such manufacturer may resubmit an application for seals.

321.610(26) Seal removal. In the event that any unit bearing the seal is found to be in violation of the code, the commissioner may remove the seal after furnishing the owner or the owner’s agent with a written statement of such violations. No new seals will be issued until proof of corrections has been submitted to the commissioner.

321.610(27) Lost or damaged seals. When or if a seal has been lost or damaged, the commissioner shall be notified immediately in writing by the manufacturer, including identification of the unit serial number, and when possible, the seal number.

a.  All seals that are damaged shall be promptly returned to the commissioner.

b.  Lost and damaged seals will be replaced by the commissioner with a new seal upon payment of the seal fee as provided in this section.

321.610(28) Return of seals. When a manufacturer discontinues production of a unit carrying plan approval, the manufacturer shall within ten days advise the commissioner of the date of such discontinuance and either return all seals allocated for such discontinued unit or assign said seals to other approved units.

321.610(29) Fees.

a.  Form of remittance. All remittances are to be:

(1)  In the form of checks or money orders;

(2)  Made payable to Iowa Department of Inspections, Appeals, and Licensing; and

(3)  Addressed to:

State Building Code Bureau

Department of Inspections, Appeals, and Licensing

6200 Park Avenue

Des Moines, Iowa 50321

b.  Seal fees.

| Modular code compliance seals | $30 per seal |
| --- | --- |
| Modular installation seals | $15 per seal |

c.  Other fees. A fee equal to the direct expense will be charged for all other services furnished by the commissioner that are not direct administrative duties of the commissioner’s office, including but not limited to obtaining consultants for review and evaluation of applications or obtaining reviews from the national code writing organizations.

321.610(30) Local issuance of building permits and local zoning.

a.  The issuance of building permits and occupancy permits will be in accordance with local ordinances and Iowa Code sections 103A.19 and 103A.20.

b.  Local building codes and regulations apply to all parts of any project that are not included in the state approval of either the manufactured structure or the installation procedure.

c.  Nothing in these rules or the state building code exempts any factory-built structure from the requirements of local zoning or site condition requirements.

d.  A modular factory-built structure moved or relocated after the first installation in Iowa shall comply with the applicable codes and zoning restrictions of the jurisdiction into which it is being moved or relocated.

321.610(31) Noncompliance to code provisions. Any noncompliance or unauthorized deviation with the provisions of this code from the approved plans or production procedures will be just cause for the revocation of the plan approval and the return of the seals.

[ARC 9471C, IAB 8/6/25, effective 9/10/25; Editorial change: IAC Supplement 11/26/25]

481—321.611 to 321.619Reserved.

PART 2—MANUFACTURED HOUSING

481—321.620(103A) Manufactured home construction. (Previously called mobile home.)

321.620(1) Authority to promulgate rules. Pursuant to Public Law 93-383, Section 604, of the National Manufactured Home Construction and Safety Act of 1974, specified in 42 U.S.C. 5403 and signed into law on August 22, 1974, the authority to promulgate rules and regulations in order to establish federal manufactured home construction standards and procedures of enforcement were established by Congress and subsequent provisions for their implementation were so granted to the United States Department of Housing and Urban Development (HUD). Title VI of this Act authorizes the secretary of HUD to promulgate the federal standards and to issue the rules and regulations to ensure adequate administration and enforcement of such standards.

321.620(2) Scope and applicability. Provisions contained within Part 2 shall apply to all factory-built structures defined as a “manufactured home” in subrule 321.620(4). These regulations shall govern manufactured homes that enter the first stage of production on or after June 15, 1976, and manufactured homes that entered the first stage of production prior to June 15, 1976, to which HUD labels were affixed. These provisions supersede all local, state, or other governmental regulations for manufactured home standards and are applicable for every manufactured home unit newly manufactured and offered for sale in the United States and its governing territories. These provisions do not apply to the following:

a.  Factory-built structures that comply with the requirements of Part 1.

b.  Manufactured homes manufactured for installation in the state of Iowa on or after February 1, 1973, and prior to June 15, 1976.

321.620(3) Manufacture of units prior to June 15, 1976. Manufactured home units and add-on units that were manufactured for installation in Iowa prior to June 15, 1976, which established the effective date of the HUD standard, shall have been constructed to the standards of manufactured homes of the Iowa state building code that was in effect at the time of manufacture.

321.620(4) Definitions and terms. Terms and definitions for purposes of clarification when used in Part 2. (More information contained in subrule 321.610(3).)

“Anchoring equipment.” Straps, cables, turnbuckles, clamps, clips, and other fasteners including tensioning devices, which are used with ties to secure a manufactured home to ground anchors.

“Anchoring system.” A combination of ties, anchoring equipment, and ground anchors that will, when properly designed and installed, resist overturning and lateral movement of the manufactured home from wind forces.

“Approved installer.” Approval by the commissioner or the commissioner’s designated representative of a person, dealer, agency or organization, qualified to inspect, or install ground anchoring and support systems for manufactured homes or other manufactured structures, who installs units, for others, at a site of occupancy by attaching support and anchoring systems, and is familiar with and has agreed to comply with these installation procedures.

“Certificate, installation.” The certificate provided by the installer to both the commissioner and the owner that warrants that the installation system complies with these rules. When an installer installs only the support system or anchorage system, an installation certificate shall also be completed and copies distributed accordingly for each installation and with the applicable information completed on the certificate pertinent to that type of installation (more information contained in subrule 321.623(5)).

“DAPIA.” A design inspection agency approved by HUD to perform in-plant design reviews on all drawings and specifications in order to provide compliance to the HUD standard for manufactured home construction.

“Diagonal tie (frame tie).” A tie intended primarily to resist horizontal or shear forces and that may secondarily resist vertical, uplift, and overturning forces.

“Ground anchor.” Any device at the manufactured home site designed to transfer manufactured home anchoring loads to the ground.

“IPIA.” A production inspection agency approved by HUD to perform the in-plant quality assurance inspection programs within manufactured home manufacturing facilities.

“Label or certification label.” The approved form of certification by the manufacturer that is affixed to each transportable section of each manufactured home manufactured for sale to a purchaser in the United States or its governing territories.

“Main frame (chassis).” The structural component on which is mounted the body of the manufactured home.

“Manufactured home.” (Previously called mobile home.) A structure transportable in one or more sections that when erected on site measures 8 body feet or more in width and 40 body feet or more in length or when erected on site is 320 or more square feet in area, and that is built on a permanent chassis and designed to be used as a dwelling unit with or without a permanent foundation when connected to the required utilities and includes the plumbing, heating, air conditioning and electrical systems contained therein.

“Manufactured home add-on.” A structure that is designed and produced and to be made an integral part of a manufactured home and will be considered part of the manufactured home, when attached thereto.

“Manufacturer’s statement of origin” means a certification signed by the manufacturer or importer that the manufactured home described has been transferred to the person or dealer named and that the transfer is the first transfer of the manufactured home in ordinary trade and commerce. The label number required by 24 CFR Chapter XX, Section 3282.362(c)(2), shall be included. (This number is commonly known as the HUD number.) The terms “manufacturer’s certificate,” “importer’s certificate,” “MSO” and “MCO” shall be synonymous with the term “manufacturer’s statement of origin.”

“Pier.” That portion of the support system between the pier foundation and the manufactured home exclusive of caps and shims.

“Pier foundation (footing).” That portion of the support system that transmits loads directly to the soil, and shall be sized to support the loads shown herein.

“SAA.” A state administrative agency approved by the Department of Housing and Urban Development to participate in the enforcement of all provisions to which a manufactured home is regulated under the HUD standard.

“Seal, installation.” Is an insignia issued by the commissioner that is attached to a manufactured home by the installer to certify that the installation is in compliance with the requirements of the state building code.

“Stabilizing system (tie-down system).” A combination of the anchoring system and the support system when properly installed. Therefore, components of the anchoring and support systems such as piers, pier foundations, ties, anchoring equipment, anchors, or any other equipment that supports or secures the manufactured home to the ground, shall be defined as stabilizing devices. For the purposes of this code the definition of a stabilizing system and the definition of a tie-down system shall be one and the same.

“Support system.” A combination of pier foundations, piers, caps, and shims that will, when properly installed, support the manufactured home.

“Tie.” Strap, cable or securing device used to connect the manufactured home to ground anchors.

“Tie-down system (stabilizing system).” Means a ground support system and a ground anchoring system used in concert to provide anchoring and support for a manufactured home.

“Vertical tie (over-the-top).” A tie intended to resist the uplifting and overturning forces. This tie may continue over-the-top but if properly attached may only extend partway up each side.

321.620(5) Administration. This section covers the basic requirements for constructing manufactured homes and all of the administrative procedures under which the manufactured home program functions including information pursuant to certification, approval and manufacturing requirements. This section also applies to those structures defined in subrule 321.620(4) of Part 2 as manufactured home add-on units, temporary field construction offices and multifamily homes. There are also included within Part 2 (rule 481—321.621(103A)) sections dealing with installation procedures and information pursuant to the handling of consumer complaints (subrule 321.620(15)) consistent with the duties of the state of Iowa to be performed as a State Administrative Agency (SAA) in conjunction with the manufactured home program.

321.620(6) Manufactured home construction requirements. All factory-built structures that are defined as a manufactured home under subrule 321.620(4) of Part 2, shall be constructed to the standards as promulgated by the United States Department of Housing and Urban Development hereafter referred to as HUD. These standards were published as final rules in the December 18, 1975, issue of the Federal Register, Volume 40, No. 244, and will be amended from time to time. These standards are herein adopted and apply to all manufactured homes manufactured after June 15, 1976. All provisions for manufactured home procedural and enforcement regulations are covered within the May 13, 1976, Federal Register, Volume 41, No. 94. All factory-built structures defined as a manufactured home by the federal standard shall be manufactured and so regulated by these documents.

321.620(7) Procedures of approval for manufactured homes. Every manufactured home unit or structure approval will follow the method of third-party certification approval with all approvals obtained through the HUD secretary. All manufactured home plans, specifications, documentation, plant facilities and in-plant inspections must be submitted to and approved by a third-party certification agency so designated by the HUD secretary. Rules and regulations pursuant to these procedures are outlined in the manufactured home procedural and enforcement regulations, Parts 3282.201 through 3282.204, which set out requirements to be met by states or private organizations that wish to qualify as primary inspection agencies (more information contained in subrule 321.620(4) about Part 2 definitions for IPIA and DAPIA).

321.620(8) Compliance certification. Every manufactured home unit or structure must conform to the certification requirements within section 3282.205 of the manufactured home procedural enforcement regulatory document.

321.620(9) Certification seals (labels) and other seal requirements. Every manufactured home unit or structure must conform to the requirements within the manufactured home procedural and enforcement regulatory document section 3282.362(c)(2) in lieu of Iowa insignias. Other types of units manufactured under the requirements of Part 2 will be labeled as prescribed in subrule 321.620(10).

321.620(10) Manufactured home add-on units. Every factory-built structure manufactured as a manufactured home add-on unit as defined in subrule 321.620(4) shall be constructed to the standards set forth in subrule 321.620(6), except that these units will bear an Iowa seal in accordance with the provisions of Part 1. Manufacturers of manufactured home add-on units with the exception of constructing to the HUD standard, which has been herein adopted for these units, must comply with all other provisions of Part 1.

321.620(11) Seal types for manufactured home add-on units.

a.  When ordering seals for manufactured home add-on units, each manufacturer will indicate the number of each type of seal requested and the letter prefix required. Examples of seals issued are as follows: (A00-0000MH), (B00-0000MH), C, D, and E, etc. Single units are without prefix letters (00-0000MH). More details are contained in subrule 321.610(21).

b.  It is noted that manufactured home type seals shall be attached to all of these type units. All other procedures for seal issuance, removal, damage, repossession and return are to conform with provisions of this code as outlined in Part 1.

321.620(12) Noncompliance. Failure to conform to the provisions of Part 2 as they apply to the federal standard for the construction of manufactured homes is subject to the penalties where applicable as set forth within Part 1. The state of Iowa having adopted the federal standard and the enforcement regulations shall participate in the federal program as an agent of HUD, thereby providing assurances to ensure code compliance when these units are offered for sale for subsequent installation within the state of Iowa.

321.620(13) Consumer complaints. The state building code bureau serving as an approved State Administrative Agency (SAA) for the Federal Department of Housing and Urban Development shall receive complaints and process them in accordance with the requirements of the federal regulations as outlined in subpart I, paragraph 3282.401, titled, “Consumer Complaint Handling and Remedial Actions of the Manufactured Home Procedural and Enforcement Document.” These specific complaints are categorized as possible imminent safety hazards or possible failures to conform to the federal standard. Imminent safety hazards shall be those items that could result in an unreasonable risk of injury or death to the occupants of the manufactured homes. Failures to conform to the federal standard are those items that do not result in an unreasonable risk of injury or death to the occupants of manufactured homes, but nevertheless do not meet the provisions of the federal standard in some specific manner.

[ARC 9471C, IAB 8/6/25, effective 9/10/25; Editorial change: IAC Supplement 11/26/25]

481—321.621(103A) Installation of manufactured homes.

321.621(1) Authority. These rules and regulations are to establish minimum requirements for the installation of manufactured homes as authorized by Iowa Code sections 103A.7(2)“c” and 103A.9.

321.621(2) Application.

a.  These rules apply to the initial installation of manufactured homes manufactured on or after February 1, 1973, and to factory-built structures manufactured homes before February 1, 1973, which have never been installed in Iowa, and are approved by the commissioner.

b.  These rules apply to all manufactured homes, new or used, that are sold in Iowa or sold to be installed in Iowa after September 1, 1977, for new manufactured homes and January 1, 1978, for used manufactured homes. The seller shall provide an approved tie-down system and the purchaser shall install or have the system installed within 150 days (more information contained in subrule 321.620(4) about the definition of a tie-down system). The 150-day period is designated for time to complete the installation when climatic conditions may restrict the completion of the tie-down system.

c.  These rules apply to the installation of manufactured home add-on units, temporary field construction offices and manufactured multifamily homes.

d.  These rules shall apply to any person doing any work on any part of the tie-down system (both support or anchorage systems) whether the unit is being sold or not.

321.621(3) Enforcement. The commissioner shall administer and enforce these provisions. Any person, agent, or organization approved and authorized by the commissioner may inspect any installation system and equipment to ensure compliance with these regulations. Evidence of compliance shall be supported by the submission to the commissioner of a certificate of installation. One copy of such certificate will remain in possession of the owner of the installed structure.

321.621(4) Manufactured home installation instructions. Every manufactured home manufacturer that manufactures manufactured homes for installation in Iowa shall provide the commissioner with a reproducible copy of printed instructions of installation for each specific make and model of manufactured home that is to be installed in Iowa. These instructions shall include copies of the materials that have been certified by a registered professional engineer for compliance with the federal manufactured home construction standards and 3280.306(a)(2), 3280.306(b), and 3280.303(c) of the regulatory standards. The manufacturer’s installation instructions shall also be available at the installation site.

321.621(5) Approvals and procedures. Requirements for approval of installers, support and anchorage systems, seals and certificates are described in the remaining sections of this part.

[ARC 9471C, IAB 8/6/25, effective 9/10/25; Editorial change: IAC Supplement 11/26/25]

481—321.622Reserved.

481—321.623(103A) Installation seal and certificate procedures for manufactured homes.

321.623(1) Application for seals. Any installer who has met the applicable requirements of 481—Chapter 325 may apply for installation seals as needed. Such seals may be obtained from the commissioner or local building officials or building department who is a participant in the state’s installation program.

321.623(2) Manufactured home installation certificates. The installer of manufactured homes shall supply the building code commissioner and the owner of the unit with the signed and completed installation certificate that has been issued by the Iowa building code commissioner, within 30 days of affixing the Iowa installation seal.

321.623(3) Obtaining installation certificates. Any person who installs a tie-down system or any portion thereof shall be supplied with the installation certificate forms when ordering installation seals and the payment of the appropriate fee. Installers who are not listed as an installer shall be supplied the proper form to be attached to the copy of the installation certificate to be filed with the commissioner, which will record compliance with the approved system.

321.623(4) Placement of installation seal.

a.  The installation seal shall be placed in a readily visible location on the rear of the unit. Those units manufactured after June 15, 1976, shall have the installation seal placed adjacent to the federal (HUD) label. Those units manufactured before June 15, 1976, shall have the installation seal placed at the left rear corner above any skirting.

b.  Multiple width units require only one seal for the completed installation. Additions that are added after the initial installation shall have an installation seal on that portion.

321.623(5) Denial and repossession of installation seals. Should investigation or inspection reveal that an approved installer has not installed an anchoring system, support system, or the complete tie-down system according to these rules and the code, the commissioner may deny such installer’s application for new installation seals and any installation seals previously issued shall be confiscated. Upon satisfactory proof of modification of such installation bringing them into compliance, such dealer or installer may resubmit an application for installation seals.

321.623(6) Seal removal, installation. Should a violation of the rules regarding installation be found, the commissioner may remove the installation seal after furnishing the owner or a designated agent with a written statement of such violation. The commissioner shall not issue a new installation seal until corrections have been made and the owner or a designated agent has requested an inspection pursuant to subrule 321.625(1).

321.623(7) Lost or damaged seals, installation. When an installation seal is lost or damaged, the commissioner shall be notified in writing. Damaged or lost installation seals shall be replaced by the commissioner upon payment of the replacement installation seal fee as provided in rule 481—322.20(103A).

321.623(8) Return of seals, installation. When a dealer or installer discontinues the installation of manufactured homes, the dealer or installer shall notify the commissioner within ten days of the date of such discontinuance and return all unused installation seals that have been issued to the dealer or installer. Installation seals may not be transferred by any dealer or installer after being issued to that dealer or installer.

321.623(9) Seals for existing manufactured homes. Seals may be obtained for existing manufactured homes that are tied down in accordance with the requirements of rule 481—321.627(103A).

[ARC 9471C, IAB 8/6/25, effective 9/10/25; Editorial change: IAC Supplement 11/26/25]

481—321.624 to 321.626Reserved.

481—321.627(103A) Approval of existing manufactured home tie-down systems. This rule is to provide a method by which manufactured homes that have been installed prior to August 12, 1983, can be sold without requiring a new tie-down system to be installed and to allow existing manufactured homes that are properly supported and anchored to be sold without installing new support and anchorage systems.

321.627(1) Sale of a certified unit.

a.  The commissioner shall be notified in writing by the seller of the change of ownership when any manufactured home sold after August 12, 1983, remains in the same location. The installation seal shall remain in place and a copy of the installation certificate shall be supplied to the new owner. Replacement seals and certificates may be obtained if necessary (subrule 321.623(9)).

b.  A certified manufactured home sold after August 12, 1983, that is moved to a new location must obtain a new certificate and seal. The existing support and anchorage system may be used if the installer verifies the conditions of use and the installation procedures of the existing systems are met at the new location.

321.627(2) Sale or acceptance of installed existing units as an owner’s option. Application may be made to the commissioner for approval of an existing manufactured home support and anchor system on one of the following conditions:

a.  If the support and anchorage systems were installed by an approved installer and are approved systems.

b.  If the existing support and anchorage system has been inspected by an approved installer and the installer attests by signing the installation certificate that to the best of the installer’s knowledge, the existing systems are equal to or better than the minimum requirements of this code.

c.  If the existing support and anchorage systems are inspected and approved by a registered engineer or architect, and attested to in writing.

d.  If the existing support and anchorage systems are inspected by a field inspector with the Iowa state building code and the existing systems are found to be equal to or better than the minimum requirements of this code.

If compliance is met by one of the above procedures and payment of the required fee has been paid, an Iowa installation seal and certificate may then be issued.

[ARC 9471C, IAB 8/6/25, effective 9/10/25; Editorial change: IAC Supplement 11/26/25]

481—321.628(103A) Procedure for governmental subdivisions for installation of factory-built structures.

321.628(1) Any governmental subdivision that has adopted the state building code or any other building code is required to enforce the state building code requirements for the installation of factory-built structures (Iowa Code section 103A.9(1)“d”(1)).

321.628(2) Governmental subdivisions that are issuing building permits and are inspecting construction for compliance with the local building regulations shall verify the installation of factory-built structures within their jurisdiction and shall sign the installation certificate and forward the appropriate copy to the commissioner.

a.  The local official shall obtain the installation certificate and the installation seal from the person making application for a building permit that includes a factory-built structure.

b.  Upon completion and review of the installation the local official shall attach the installation seal to the unit.

c.  Governmental subdivisions are permitted to assess fees as may be required by local ordinances.

d.  Nothing in this rule is intended to reduce the authority of the governmental subdivision from establishing zoning regulations as outlined in Iowa Code sections 414.28 and 335.30.

[ARC 9471C, IAB 8/6/25, effective 9/10/25; Editorial change: IAC Supplement 11/26/25]

481—321.629(103A) Support and anchoring systems submission.

321.629(1) Submission by manufacturer. The manufacturer of each manufactured home installed in Iowa shall submit to the building code commissioner a copy of the installation instructions by mail in printed form and in an electronic form acceptable to the commissioner.

321.629(2) Submission by licensed professional engineer. A licensed professional engineer who designs a support and anchoring system for use in the installation of a manufactured home in Iowa shall submit to the building code commissioner a copy of the specifications and instructions for the system by mail in printed form and in an electronic form acceptable to the building code commissioner. A support and anchoring system designed by a licensed professional engineer shall not be utilized unless it has been submitted to the building code commissioner in compliance with this subrule.

TABLE 6A

MINIMUM NUMBER OF TIEDOWNS

REQUIRED FOR SINGLEWIDE MOBILE HOMES

| MOBILE HOME BOX LENGTH NOT EXCEEDING |  | MINIMUM NUMBER OF TIEDOWNS PER SIDE |  |
| --- | --- | --- | --- |
|  |  | DIAGONAL TIES | VERTICAL TIES* |
| 40′-0″ |  | 3 | 2 |
| 54′-0″ |  | 3 | 2 |
| 73′-0″ |  | 4 | 2 |
| 84′-0″ |  | 5 | 2 |

*If more than minimum number of vertical or diagonal ties have been supplied, they shall all be used.

NOTES:

1.   Doublewide mobile homes shall comply with Table 6A except that no vertical ties are required.

2.   Wherever a vertical tie and a diagonal tie lie in a plane that is vertical and transverse to the main longitudinal beam, both ties may be connected to the same ground anchor, providing that particular anchor withstands both loadings.

3.   This table shall be used only if there are no manufacturers approved installation requirements.

[ARC 9471C, IAB 8/6/25, effective 9/10/25; Editorial change: IAC Supplement 11/26/25]

These rules are intended to implement Iowa Code sections 103A.7 and 103A.9 and Public Law 102-486.

[Filed and effective 7/15/75]

[Filed 7/7/77, Notice 4/20/77—published 7/27/77, effective 9/1/77]

[Filed 11/14/77, Notice 9/21/77—published 11/30/77, effective 1/4/78]

[Filed emergency 12/13/77—published 12/28/77, effective 1/4/78]

[Filed 9/27/78, Notice 3/22/78—published 10/18/78, effective 11/22/78]

[Filed emergency after Notice 2/6/79—published 3/7/79, effective 2/6/79, Notice 11/1/78]1

[Filed 12/15/80, Notice 6/25/80—published 1/7/81, effective 3/1/81]2

[Filed 10/30/81, Notice 9/2/81—published 11/25/81, effective 1/1/82]

[Filed 6/16/83, Notice 4/13/83—published 7/6/83, effective 8/12/83]

[Filed 8/10/84, Notice 5/23/84—published 8/29/84, effective 10/3/84]

[Filed 10/17/86, Notice 7/16/86—published 11/5/86, effective 1/1/87]

[Filed 12/23/86, Notice 7/16/86—published 1/14/87, effective 2/19/87]

[Filed 8/31/87, Notice 6/3/87—published 9/23/87, effective 11/1/87]

[Filed 4/1/88, Notice 9/23/87—published 4/20/88, effective 5/25/88]

[Filed 10/25/88, Notice 9/7/88—published 11/16/88, effective 1/1/89]3

[Filed emergency 7/21/89—published 8/9/89, effective 7/21/89]

[Filed 10/13/89, Notice 8/9/89—published 11/1/89, effective 12/6/89]

[Filed 12/22/89, Notice 10/18/89—published 1/10/90, effective 2/14/90]

[Filed emergency 1/17/90—published 2/7/90, effective 2/14/90]

[Filed emergency 12/21/90—published 1/9/91, effective 1/1/91]

[Filed 3/29/91, Notice 11/28/90—published 4/17/91, effective 6/1/91]

[Filed 5/10/91, Notice 4/3/91—published 5/29/91, effective 7/3/91]

[Filed 8/28/92, Notice 5/27/92—published 9/16/92, effective 11/1/92]

[Filed 2/12/93, Notice 10/14/92—published 3/3/93, effective 5/1/93]

[Filed 9/23/94, Notice 7/6/94—published 10/12/94, effective 11/16/94]

[Filed 5/16/97, Notice 11/20/96—published 6/4/97, effective 7/15/97]

[Filed 11/26/97, Notice 10/22/97—published 12/17/97, effective 2/1/98]

[Filed 11/9/00, Notice 7/26/00—published 11/29/00, effective 1/3/01]

[Filed 11/9/00, Notice 10/4/00—published 11/29/00, effective 1/3/01]

[Filed emergency 3/23/01—published 4/18/01, effective 4/1/01]

[Filed emergency 9/27/01—published 10/17/01, effective 10/1/01]

[Filed 6/13/03, Notice 11/27/02—published 7/9/03, effective 1/1/04]

[Filed emergency 1/30/04—published 2/18/04, effective 2/1/04]

[Filed 4/9/04, Notice 2/18/04—published 4/28/04, effective 6/2/04]

[Filed emergency 11/24/04—published 12/22/04, effective 12/1/04]

[Filed emergency 3/25/05—published 4/13/05, effective 4/1/05]

[Filed 12/2/05, Notice 9/14/05—published 12/21/05, effective 4/1/06]

[Filed emergency 6/12/08—published 7/2/08, effective 7/1/08]

[Filed Emergency ARC 8937B, IAB 7/14/10, effective 7/1/10]

[Filed ARC 9471C (Notice ARC 9050C, IAB 4/2/25), IAB 8/6/25, effective 9/10/25]

[Editorial change: IAC Supplement 11/26/25]

Inadvertently dropped out from 1/7/81 IAC Supplement replacement pages.

Effective date of IAB amendments to [O.P.P. 5.600 to 5.629] Division VI (16.600 to 16.629) delayed 70 days by the Administrative Rules Review Committee.

Effective date (1/1/89) of 16.120(2)[3802 “h” only] delayed until adjournment of the 1988 Session of the General Assembly by the Administrative Rules Review Committee at its December 13, 1988, meeting.