CHAPTER 24

LOCATION AND CONSTRUCTION OF ELECTRIC POWER GENERATING FACILITIES

[Prior to 10/8/86, Commerce Commission[250]]

Chapter rescission date pursuant to Iowa Code section 17A.7: 6/4/30

199—24.1(476A) Authority and purpose. The regulations contained herein are prescribed by the Iowa utilities commission pursuant to authority granted to the commission in Iowa Code chapter 476A, relating to the location and construction of electric power generating facilities.  The purpose of these regulations is to provide guidelines for proceedings for the determination whether the proposed construction of a major electric generation facility or significant alteration thereto should be issued a certificate before such construction may commence and to state the procedures for determining compliance by the applicant with permit and licensing requirements of state regulatory agencies.

[ARC 9182C, IAB 4/30/25, effective 6/4/25]

199—24.2(476A) Definitions. As used in this chapter:

“Acid Rain Program” means the sulfur dioxide and nitrogen oxides air pollution control program established pursuant to Title IV of the Clean Air Act, 42 U.S.C. Section 7401, et seq., as amended by Pub. L. 101-549, November 15, 1990.

“Act” means Iowa Code chapter 476A.

“Agency” means an agency as defined in Iowa Code section 17A.2(1).

“Allowance” means an authorization, allocated by the federal Environmental Protection Agency under the Acid Rain Program, to emit up to one ton of sulfur dioxide, during or after a specified calendar year.

“Certificate” means a certificate as defined in Iowa Code section 476A.1.

“Contested case proceeding” means the contested case proceeding before the commission prescribed by Iowa Code section 476A.4.

“Facility” means a facility as defined in Iowa Code section 476A.1.

“Interested agency” means an agency, other than a regulatory agency, which the commission in its discretion determines to have a legitimate interest in the disposition of the application.

“Intervenor” means a person who received notice under paragraph 24.6(2)“b,”“c,”“d,” “e,” or “f” and has filed with the commission a written notice of intervention, or a person granted permission to intervene by the commission after filing a petition pursuant to rule 199—7.13(17A,476).

“MW” means megawatts.

“Person” means a person as defined in Iowa Code section 4.1.

“Public utility” means a public utility as defined in Iowa Code section 476.1.

“Regulatory agency” means a regulatory agency as defined in Iowa Code section 476A.1.

“Significant alteration” means:

1.   A change in the generic type of fuel used by the major electric generating facility; or

2.   Any change in the location, construction, maintenance, or operation of equipment at an existing facility that increases the maximum generator nameplate capacity of the facility by at least 10 percent and at least 25 MW.

“Site” means the land on which the generating unit or electric storage unit of the facility, and any cooling facilities, cooling water reservoirs, security exclusion areas, and other necessary components of the facility, are proposed to be located.

“Site impact area” means the area within the state of Iowa within a ten-mile radius of the intersection of the transverse centerline axis and longitudinal centerline axis of the generator or all such generators where the proposed facility includes multiple generators.

“Zoning authority” means any city or county zoning authority in whose jurisdictional area a proposed facility site or portion thereof is located.

[ARC 9182C, IAB 4/30/25, effective 6/4/25]

199—24.3(476A) Form of application; place of filing.

24.3(1) Form of application. The information required by these rules to be included with an application shall be indexed and arranged in a sequential manner substantially similar to the outline form of the rules, with all material submitted categorized into the specific areas and sections set forth in the rules.

24.3(2) Manner and place of filing. An applicant shall file the application electronically unless otherwise permitted by the commission, and the commission will include on the service list for the application each regulatory agency listed on the application in addition to other agencies as the commission deems appropriate.

[ARC 9182C, IAB 4/30/25, effective 6/4/25]

199—24.4(476A) Application for a certificate—contents. Each person or group of persons proposing to construct a facility or a significant alteration to a facility shall file an application for certificate with the commission unless otherwise provided by these rules. The applicant may file a partial application in conjunction with a request under rule 199—24.9(476A). An application shall substantially comply with the following informational requirements:

24.4(1) Section 1, entitled “General information,” shall include the following information:

a.  The legal name, address, telephone number, and email address of the applicant and all other participants of the proposed facility at the time of filing; name of the person authorized to receive communications relating to the application on behalf of those persons; Iowa business address, if applicable; and principal place of business of the applicant.

b.  The name and type of business of the applicant’s and all other participants’ parent companies and affiliates with the percentages of ownership.

c.  A complete description of the current and proposed rights of ownership in the proposed facility and current or planned purchase power contracts with respect to the proposed facility.

d.  A general site description including a legal description of the site location; a general map showing the site and its location with respect to state, county, and other political subdivisions; prominent features such as cities, lakes, rivers and parks within the site impact area; and a more detailed map showing the location of the facility perimeter, utility property, railroads and other transportation facilities, abutting and adjacent properties, cities, lakes, rivers, parks, other public facilities, cemeteries, and places of historical significance within one mile of the site boundary. The general site description should include a discussion of whether the proposed site is located in a flood plain.

e.  A general description of the proposed facility including a description of the principal characteristics of the facility such as the capacity of the proposed facility in MW expressed by the contracted maximum generator nameplate MW rating, the portion (in MW) of the design capacity of the proposed facility that is proposed to be available for use by each participant; the number and type of generating units, primary fuel source for each such unit, total hours of operation anticipated seasonally and annually, and output in megawatt hours during these hours; expected capacity factors; a description of the general arrangement of major structures and equipment to provide the commission with an understanding of the general layout of the facility; and a schedule for the facility’s construction and utilization including the projected date significant site alteration is proposed to begin and the projected date the facility is to be placed into service. For this purpose, a group of several similar generating units operated together at the same location such that segregated records of energy output are not available shall be considered as a single unit.

f.  A general description of all raw materials, including fuel, used by the proposed facility in producing electricity and of all wastes created in the production process, including the amount of annual expected sulfur dioxide emissions from the facility, with the applicant’s plan for acquiring allowances sufficient to offset those emissions. The applicant shall describe all transportation facilities currently operating that will be available to serve the proposed facility during operations and any additional transportation facilities needed to deliver raw materials and to remove wastes.

g.  Identification, general description and chronology of all financial and other contractual commitments undertaken or planned to be undertaken with respect to the proposed facility.

h.  A general map and description of the primary transmission corridors and the approximate routing of the rights-of-way. An analysis of the existing transmission network’s capability to reliably support the proposed additional generation interconnection to the network. The analysis must also show that the interconnection to the transmission system is consistent with standard utility practices and the proposed interconnection does not degrade the adequacy, reliability, or operating flexibility of the existing transmission system in the area. A system impact analysis performed by the operator of the transmission system with which the facility will be interconnected, as well as any analysis, in the applicant’s possession, submitted to an area reliability council, concerning the impact of the facility on the area grid, shall satisfy the foregoing requirements. The impact analysis must include both local area and regional impacts.

i.  The names and addresses of those owners and lessees of record of real property identified in paragraphs 24.6(2)“d” and “e.”

j.  The names and addresses of those owners and lessees of record of real property for whom the applicant seeks the use of eminent domain.

24.4(2) Section 2, entitled “Regulatory requirements,” shall include the following:

a.  All information related to the regulatory agency and zoning authority requirements for permits or licenses necessary to construct, operate, and maintain the facility.

b.  A listing of every state agency from which any approval or authorization concerning the proposed facility is required and a listing of zoning authorities.

c.  Information equivalent to the information required in the rules and application forms of such state regulatory agencies and zoning authorities, to the extent such information is ready to be filed.

24.4(3) Section 3, entitled “Community impact,” shall include an identification and analysis of the effects the construction, operation, and maintenance of the proposed facility will have on the site impact area, including but not limited to the following:

a.  A forecast of the permanent impact of the construction, operation, and maintenance of the proposed facility on commercial and industrial sectors, housing, land values, labor market, health facilities, sewage and water, fire and public protection, recreational facilities, schools and transportation facilities.

b.  A forecast of any temporary impact placed upon housing, schools or other community facilities as a result of a temporary influx of workers during the construction of the proposed facility.

c.  A forecast of the impact of the proposed facility on property taxes of affected taxing jurisdictions. The forecast shall include the effects on property taxes caused by all community development proximately related to the construction of the proposed facility.

d.  A forecast of the impact on agricultural production and uses.

e.  A forecast of the impact on open space areas and areas of significant wildlife habitat. Such forecast shall include identification and description of the impact of the proposed facility on terrestrial and aquatic plants and animals.

f.  A forecast of the impact on transportation facilities.

g.  A forecast of the impact on cultural resources including known archaeological, historical and architectural properties that are on, or eligible for, the National Register of Historic Places.

h.  A forecast of the impact on landmarks of historic, religious, archaeological, scenic, natural or other cultural significance including the applicant’s plans to coordinate with the office of the state archaeologist to reduce or obviate any adverse impact and the applicant’s plans to coordinate with the department of homeland security and emergency management in the event of accidental release of contaminants from the proposed facility.

24.4(4) Section 4, entitled “Site selection methodology,” shall include information related to the selection of the proposed site for the facility, including the following:

a.  The general criteria used to select alternative sites and how these criteria were used to select the proposed site.

b.  A discussion of the extent to which reliance upon eminent domain powers could be reduced by use of an alternative site, alternative generation method or alternative waste handling method.

[ARC 9182C, IAB 4/30/25, effective 6/4/25]

199—24.5(476A) Initial commission review—application acceptance.

24.5(1) Upon the filing of the application or a portion of the application, the commission and the appropriate regulatory agencies shall determine whether the application is in substantial compliance with the requirements of rule 199—24.4(476A). If any significant deficiencies are determined to exist in the application, or such portion of the application, by either the commission or regulatory agency, the commission shall notify the applicant specifying such deficiencies within 45 days from the date of the filing of the application or such portion of the application.

24.5(2) The applicant shall have 30 days from notification of deficiencies to amend or request, for good cause, a reasonable extension of time to amend. In the event the applicant fails to amend within the time allowed or, after amendment, the application or portion thereof filed is not in substantial compliance with the requirements of rule 199—24.4(476A), the commission may reject the application or such portion thereof. Such rejection shall constitute final agency action but shall not preclude reapplication.

24.5(3) If the application or portion thereof, after amendment or otherwise, is in substantial compliance with the requirements of rule 199—24.4(476A), the commission shall, within 45 days of the filing of the application or portion thereof or amendment thereto, accept the application or portion thereof and set the time and place for hearing as provided in rule 199—24.6(476A); provided that upon acceptance of a partial application, the commission may order separate proceedings on particular phases of the application, pursuant to rule 199—24.9(476A), where such partial application permits a finding to be made with regard to any of the facility siting criteria contained in subrule 24.10(2).

[ARC 9182C, IAB 4/30/25, effective 6/4/25]

199—24.6(476A) Procedural schedule.

24.6(1) Upon acceptance of the application, the commission shall establish a schedule for the certification proceeding which includes:

a.  A hearing to be commenced in accordance with rule 199—24.8(476A), no earlier than 90 days nor later than 150 days from the date of acceptance, in the county in which the construction of the greater portion of the facility is being proposed.

b.  Provision for the publication of notice of the schedule for the hearing held by the commission in the form provided in Iowa Code section 17A.12(2), which notice shall be published in a newspaper of general circulation in each county in which the proposed site is located once each week for two consecutive weeks with the second publication being no later than 30 days after acceptance of the application.

24.6(2) The commission shall serve notice or direct the applicant to serve notice of the acceptance of the application and proceeding schedule upon the following:

a.  All regulatory agencies, including the Iowa department of transportation and the Iowa department of natural resources.

b.  Interested agencies as determined by the commission, including the office of the state archaeologist and the state historic preservation office of the state historical society of Iowa.

c.  County and city zoning authorities from the area in which the proposed site is located.

d.  All owners of record of real property located within one mile of the intersection of the transverse center-line axis and longitudinal center-line axis of the generator, or all such generator axis intersections where the proposed facility includes multiple generators, and all owners of record of real property located within 1,000 linear feet of the proposed boundary, but outside any such one-mile radius.

e.  All lessees of record of real property of one acre or more located within the site boundary or within 1,000 linear feet outside of the proposed site boundary.

f.  Owners and lessees of real property for which the applicant seeks the power of eminent domain.

g.  Other interested persons as determined by the commission.

24.6(3) Status of notice recipient.

a.  Those receiving notice under paragraph 24.6(2)“a” may participate in the proceeding as a party by filing an appearance.

b.  Such notice provided under paragraph 24.6(2)“b,”“c,”“d,” “e,” or “f” shall state that the recipient shall have the right to become an intervenor upon duly filing written notice of intervention.

[ARC 9182C, IAB 4/30/25, effective 6/4/25]

199—24.7(476A) Informational meeting.

24.7(1) Place of meeting. Not less than 30 days prior to the filing of an application, the applicant shall hold an informational meeting in the county of the proposed site for the facility. In the event the proposed site is in more than one county, such meeting shall be in that county containing the greatest portion of the proposed facility site.

24.7(2) Meeting facilities. The applicant shall be responsible for all negotiations and compensation for a suitable facility to be used for the informational meeting, including but not limited to a building or facility that is in substantial compliance with the requirements of the Americans with Disabilities Act Accessibility Guidelines, Chapter 4, as effective on June 4, 2025, where such a building or facility is reasonably available.

24.7(3) Location. The location of the meeting shall be reasonably accessible to all persons who may be affected by the granting of the certificate.

24.7(4) Commission approval. Commission approval shall be obtained for the proposed informational meeting date, time, and location.

24.7(5) Personnel. The applicant shall provide qualified personnel to speak for the applicant in matters relating to the following:

a.  Utility planning that has resulted in the proposed construction.

b.  When the facility or significant alteration will be constructed.

c.  In general terms the physical construction, appearance and location of major structures with respect to proposed property lines.

d.  In general terms the property rights that the applicant seeks including purchase, option to buy, and easement.

e.  Procedures to be followed in contacting affected parties for specific negotiations in acquiring property rights.

f.  Methods and factors used in arriving at offered compensation.

g.  Manner in which payments are made including discussion of conditional easements, signing fees and time of payment.

h.  Other factors or damages for which compensation is made.

i.  If the undertaking is a joint effort, other participants shall be represented at the informational meeting by qualified personnel designated to speak for them.

24.7(6) Conduct of the meeting. A member of the commission or a presiding officer will conduct the meeting and present an agenda for such meeting, which shall include a summary of the legal rights of affected legal landowners. No formal record of the meeting is required. The meeting shall be considered an opportunity for interested members of the public to raise questions regarding the proposal and an opportunity for the applicant to respond.

24.7(7) Notice. At least one week prior to the time set for the informational meeting, the applicant shall cause to be published a notice of such meeting in a newspaper of general circulation in each county containing a portion of the proposed site impact area. The notice of the informational meeting shall contain the following statement: Persons with disabilities requiring assistive services or devices to observe or participate should contact the commission at 515.725.7300 in advance of the scheduled date to request that appropriate arrangements be made. The applicant shall file proof of such notice in the commission’s electronic filing system. Additional notice shall be made through press release to all newspapers of general circulation in each county containing a portion of the proposed site impact area and, as deemed appropriate by the commission, electronic media.

24.7(8) Exception to informational meeting requirement. An applicant is not required to request or hold an informational meeting if:

a.  The applicant is seeking a generating certificate for a wind generating facility, a solar generating facility, an electric storage unit, or a combination thereof, and

b.  The applicant has acquired all necessary property rights for the project.

[ARC 9182C, IAB 4/30/25, effective 6/4/25]

199—24.8(476A) Hearing procedure.

24.8(1) General. The proceedings conducted by the commission pursuant to this chapter shall be treated in the same manner as a contested case pursuant to the provisions of Iowa Code chapter 17A. Except where contrary to express provisions below, the hearing procedure shall conform to the commission’s rules of practice and procedure, 199—Chapter 7. The proceeding for the issuance of certificate may be consolidated with the contested case proceeding for determination of applicable ratemaking principles under Iowa Code section 476.53.

24.8(2) Intervention.

a.  Notice of intervention. An agency not receiving notice pursuant to paragraph 24.6(2)“b” may become a party to the contested case proceeding by filing a notice of intervention. Such notice shall contain a statement of the jurisdiction or interest of the particular agency with respect to the proposed facility.

b.  Petition to intervene. Any other person wishing to become a party to the contested case proceeding may request to intervene in the proceeding by filing a petition to intervene pursuant to rule 199—7.13(17A,476) by the deadline set in the procedural schedule.

c.  Commission discretion. The commission may, in its discretion, grant or deny such petition in accordance with rule 199—7.13(17A,476).

24.8(3) Appearance. If any regulatory agency fails to appear of record in the contested case proceeding conducted by the commission, the commission shall conclusively presume that the facility meets the regulatory agency’s permit and licensing requirements.

24.8(4) Application for rehearing. All applications for rehearing will be made and processed in accordance with Iowa Code sections 17A.16(2) and 476.12 and rule 199—7.27(17A,476).

[ARC 9182C, IAB 4/30/25, effective 6/4/25]

199—24.9(476A) Separate hearings on separate issues.

24.9(1) By motion. The commission, upon its own motion or on the motion of the applicant, may order separate phases on particular issues of the proceeding. Each phase shall be addressed to issues involved in applying one or more of the facility siting criteria set forth in subrule 24.10(2) and shall result in commission findings with respect thereto.

24.9(2) By agreement. In accordance with agreements made pursuant to Iowa Code chapter 28E, with regulatory agencies, the commission may establish separate phases of the hearing process to determine whether the proposed facility will conform to the permit and licensing requirements of the regulatory agencies.

24.9(3) Procedure. Each such hearing phase shall be conducted in conformance with the requirements of rule 199—24.8(476A) or other rules of practice and procedure designated in the applicable chapter 28E agreement.

[ARC 9182C, IAB 4/30/25, effective 6/4/25]

199—24.10(476A) Certification decision.

24.10(1) Issuance of decision. Upon the close of the record in the proceeding, the commission shall expeditiously render a written decision with complete determinations as to the facility siting criteria or portion thereof under consideration, other necessary findings of fact or conclusions of law necessary to support the commission’s decision.

24.10(2) Facility siting criteria. In rendering its certification decision, the commission shall consider the following criteria:

a.  Whether the service and operations resulting from the construction of the facility are consistent with the legislative intent as expressed in Iowa Code section 476.53 and the economic development policy of the state as expressed in Iowa Code Title I, Subtitle 5, and will not be detrimental to the provision of adequate and reliable electric service, including whether the existing transmission network has the capability to reliably support the proposed additional generation interconnection to the network.

b.  Whether the construction, maintenance, and operation of the proposed facility will be consistent with reasonable land use and environmental policies, and consonant with reasonable utilization of air, land, and water resources, considering available technology and the economics of available alternatives. Such determination shall include:

(1)  Whether all adverse impacts attendant the construction, maintenance, and operation of the facility have been reduced to a reasonably acceptable level;

(2)  Whether the proposed site represents a reasonable choice among available alternatives;

(3)  Whether the proposed facility complies with applicable city, county, or airport zoning requirements and, if not, whether the location of the proposed facility at the proposed site is reasonably justified from an economic, technical, and social standpoint.

c.  Whether the applicant is willing to construct, maintain, and operate the facility pursuant to the provisions of the certificate and the Act.

d.  Whether the proposed facility meets the permit and licensing requirements of regulatory agencies.

24.10(3) Amendment. If the commission finds that the application and record in the proceeding does not support affirmative findings with regard to these criteria, the commission will, in its order, specify any deficiencies determined to exist and the applicant may, within 30 days from the commission’s order, amend or, for good cause, request a reasonable extension of time to amend the application, or to request reopening of the record to correct the deficiencies, or both.

24.10(4) Denial. In the event the applicant fails to amend in a timely fashion, or after amendment or reopening the record, or both, the commission remains unable to make an affirmative finding, the commission will deny the application. The applicant may request rehearing on such denial in accordance with Iowa Code sections 17A.16(2) and 476.12 and rule 199—7.27(17A,476).

24.10(5) Application approval. If the commission finds that the criteria support the issuance of a certificate, the commission will approve the application and, in accordance with rule 199—24.12(476A), prepare a certificate for the facility.

[ARC 9182C, IAB 4/30/25, effective 6/4/25]

199—24.11(476A) Site preparation.

24.11(1) In the event no certificate has been issued after 90 days from the commencement of the hearing, the commission may permit the applicant to begin work to prepare the site for construction of the facility. Any activities conducted pursuant to this rule shall have no probative value to the commission’s decision concerning the actual issuance of a certificate.

24.11(2) In the event the commission denies an application for a certificate or an amendment to a certificate, applicants who have received permission to begin site preparation, pursuant to subrule 24.11(1), shall restore the site, in accordance with the commission order denying the application.

[ARC 9182C, IAB 4/30/25, effective 6/4/25]

199—24.12(476A) Issuance of a certificate.

24.12(1) General. The certificate shall authorize construction, maintenance, and operation of the facility on the site designated in the certificate according to the following:

a.  The terms and conditions imposed by the commission and stated in the certificate.

b.  The terms and conditions in licenses and permits issued by regulatory agencies before and during the proceeding.

c.  The terms and conditions that have been specifically recommended by regulatory agencies in the proceeding and declared by those regulatory agencies or the commission as being necessary for the applicant to comply with requirements of licenses or permits then sought but not yet issued.

24.12(2) Eminent domain. The certificate shall give the applicant the power of eminent domain to the extent and under such conditions as the commission approves, prescribes, and finds necessary for the public convenience, use, and necessity, proceeding in the manner of works of internal improvement under Iowa Code chapter 6B.

24.12(3) Certificate transfer. A certificate may be transferred, subject to the approval of the commission, to a person who agrees to comply with the terms of the certificate including any amendments to the certificate. Certificates shall be transferable by operation of law to any receiver, trustee or similar assignee under a mortgage, deed of trust or similar instrument.

24.12(4) Application withdrawal. Pursuant to Iowa Code section 476.53, a rate-regulated utility shall have the option of withdrawing its application for issuance of a certificate.

[ARC 9182C, IAB 4/30/25, effective 6/4/25]

199—24.13(476A) Exemptions from certification application; application for amendment for certificate: Contents.

24.13(1) Application for amendment.

a.  Each person or group of persons proposing a significant alteration to any facility that was constructed pursuant to a certificate issued by the commission shall file an application for an amendment to a certificate in lieu of an application for a certificate.

b.  Each person or group of persons proposing a significant alteration to any facility that was not constructed pursuant to a certificate issued by the commission must file an application for such certificate unless:

(1)  The facility has not attained full commercial rating and has not operated in excess of 80 percent of its maximum nameplate megawatt rating for ten hours daily for 45 consecutive days; and

(2)  The significant alteration requires no more land than was required for the facility, is within the scope of publicly announced plans for the facility’s construction, and entails no additional contracts for major components than those let for the facility.

24.13(2) All applications for amendment to a certificate shall be filed in accordance with rule 199—24.3(476A) and shall include:

a.  A complete identification and discussion of the nature of the amendment proposed; and

b.  A complete enumeration of the effects the amendment has on the accuracy of the information contained in the application for a certificate filed pursuant to rule 199—24.4(476A).

24.13(3) Upon commission acceptance of the application, the commission shall establish a hearing schedule. Unless otherwise ordered by the commission, an informational meeting under rule 199—24.7(476A) is not required. Notice shall be in accordance with subrule 24.6(2).

24.13(4) In the consideration of an application for a certificate pursuant to paragraph 24.13(1)“b” or amendment to a certificate pursuant to paragraph 24.13(1)“a,” there shall be a rebuttable presumption that the decision criteria of subrule 24.10(2) are satisfied.

24.13(5) Amendment to a certificate. In determining whether an amendment to a certificate will be issued to the applicant, the commission will be guided by the criteria set forth in subrule 24.10(2) to the extent applicable and appropriate.

[ARC 9182C, IAB 4/30/25, effective 6/4/25]

199—24.14(476A) Waiver.

24.14(1) The commission, if it determines that the public interest would not be adversely affected, may waive any of the requirements of this chapter.

24.14(2) In addition to any other service requirements, an applicant requesting a waiver must serve a copy of the waiver on all owners or record of real property that adjoins the proposed facility site.

24.14(3) In determining whether the public interest would not be adversely affected, the commission may consider the following factors:

a.  The purpose of the facility.

b.  The type of facility.

c.  Whether the facility is for the applicant’s own needs.

d.  The effect of the facility on existing transmission systems.

e.  Any other relevant factors.

[ARC 9182C, IAB 4/30/25, effective 6/4/25]

These rules are intended to implement Iowa Code chapter 476A.

[Filed 2/18/77, Notices 8/23/76, 11/3/76—published 3/9/77, effective 4/13/77]

[Filed 9/30/77, Notice 6/29/77—published 10/19/77, effective 11/23/77]

[Filed emergency after Notice 9/30/77, Notice 6/29/77—published 10/19/77,

effective 9/30/77]

[Filed 4/10/79, Notices 5/3/78, 8/23/78—published 5/2/79, effective 6/6/79]

[Filed emergency 6/28/82—published 7/21/82, effective 6/28/82]

[Filed 11/19/82, Notice 9/1/82—published 12/8/82, effective 1/12/83]

[Filed 11/16/84, Notice 9/12/84—published 12/5/84, effective 1/16/85]

[Filed emergency 9/18/86—published 10/8/86, effective 9/18/86]

[Filed 5/10/91, Notice 2/6/91—published 5/29/91, effective 7/3/91]

[Filed 7/1/93, Notice 3/17/93—published 7/21/93, effective 8/25/93]

[Filed 7/27/93, Notice 3/3/93—published 8/18/93, effective 9/22/93]

[Published 6/17/98 to update name and address of board]

[Filed 2/15/02, Notice 8/22/01—published 3/6/02, effective 4/10/02]

[Filed 2/13/04, Notice 12/24/03—published 3/3/04, effective 4/7/04]

[Filed 5/2/07, Notice 3/28/07—published 5/23/07, effective 6/27/07]

[Filed 4/18/08, Notice 3/12/08—published 5/7/08, effective 6/11/08]

[Editorial change: IAC Supplement 12/29/10]

[Filed ARC 3751C (Notice ARC 3416C, IAB 10/25/17), IAB 4/11/18, effective 5/16/18]

[Editorial change: IAC Supplement 7/24/24]

[Filed ARC 9182C (Notice ARC 8346C, IAB 11/13/24), IAB 4/30/25, effective 6/4/25]