CHAPTER 143

AUTOMATED EXTERNAL DEFIBRILLATOR MAINTENANCE

Chapter rescission date pursuant to Iowa Code section 17A.7: 6/1/30

641—143.1(613) Definition. For the purposes of these rules, the following definition applies:

“Automated external defibrillator” or “AED” means an external semiautomatic device that determines whether defibrillation is required.

[ARC 9082C, IAB 4/2/25, effective 6/1/25]

641—143.2(613) AED maintenance. The person or entity maintaining the AED shall:

143.2(1) Ensure that the AED is maintained and inspected in accordance with the manufacturer’s guidelines.

143.2(2) Ensure that the AED is programmed to conform to nationally accepted guidelines for treatment of cardiac arrest patients.

[ARC 9082C, IAB 4/2/25, effective 6/1/25]

These rules are intended to implement Iowa Code section 613.17.

[Filed emergency 11/10/04—published 12/8/04, effective 11/10/04]

[Filed 1/13/05, Notice 12/8/04—published 2/2/05, effective 3/9/05]

[Filed ARC 7551B (Notice ARC 7358B, IAB 11/19/08), IAB 2/11/09, effective 3/18/09]

[Filed ARC 9358B (Notice ARC 9241B, IAB 11/17/10), IAB 2/9/11, effective 3/16/11]

[Filed ARC 3396C (Notice ARC 3204C, IAB 7/19/17), IAB 10/11/17, effective 11/15/17]

[Filed ARC 9082C (Notice ARC 8457C, IAB 12/25/24), IAB 4/2/25, effective 6/1/25]