661—265.32(100) Safety regulations—storage and transfer. Each wholesaler shall comply with all of the requirements of NFPA 1124 for the storage and transfer of consumer fireworks.

[ARC 3124C, IAB 6/21/17, effective 5/31/17; ARC 3592C, IAB 1/17/18, effective 2/21/18]