199—21.13(476) Engineering practice for sanitary sewage disposal service.

21.13(1) Requirement of good engineering practice. The design and construction of the utility’s plant and collection system will conform to good standard engineering practice.

21.13(2) Inspection. Each utility shall adopt and follow a program of inspection of its plant and collection system in order to determine the necessity for replacement and repair. The frequency of the various inspections will be based on the utility’s experience and accepted good practice.

[ARC 8846C, IAB 1/22/25, effective 2/26/25]