199—21.14(476) Meter testing for sanitary sewage disposal service. If a utility uses separate meters to measure the volume of sewage disposal, the separate meters will be tested in substantial conformity with the requirements of rule 199—21.6(476).

[ARC 8846C, IAB 1/22/25, effective 2/26/25]