567—67.9(455B) Class III sewage sludge. 
    67.9(1) Class III sewage sludge is any sewage sludge that cannot meet either Class I sewage sludge criteria or Class II sewage sludge criteria.
    67.9(2) Class III sewage sludge shall not be utilized for beneficial use for land application as specified in the chapter.
    67.9(3) Class III sewage sludge shall be disposed according to the surface disposal subpart of the 40 CFR Part 503 regulation and 567—103.6(455B) or the incineration subpart of the 40 CFR Part 503 regulation.
