661—226.4(101) Qualifications of personnel.

226.4(1) Persons who transfer liquefied petroleum gas, who are employed to transport liquefied petroleum gas, or whose primary duties fall within the scope of this chapter shall be trained in proper handling and emergency response procedures.

a.  Training shall include both initial training and refresher training that addresses but is not limited to safe work practices, the health and safety hazards of liquefied petroleum gas, emergency response procedures, and supervised on-the-job training.

(1)  Initial training shall include participation in a recognized training program and shall include both a written qualification assessment (closed-book test) and a skills assessment, based on the objectives set forth in the recognized training program and the requirements of NFPA 54 National Fuel Gas Code, 2018 edition, NFPA 58 Liquefied Petroleum Gas Code, 2017 edition, and any applicable requirements established in this chapter.

(2)  Refresher training shall include both a written qualification assessment (closed-book test) and a hands-on skills assessment based on requirements of NFPA 54 National Fuel Gas Code, 2018 edition, NFPA 58 Liquefied Petroleum Gas Code, 2017 edition, and any applicable requirements established in this chapter.

(3)  The written qualification assessment shall be proctored through the training agency providing the refresher training or another qualified party.

(4)  The hands-on skills assessment shall be completed by the training agency or another qualified party and shall include a verification of completion that shall be signed by the individual completing the required skills and the skills evaluator.

(5)  Refresher training shall be provided at least every three years.

b.  All training shall be documented. Documentation shall be maintained by the current employer of the person receiving the training.

226.4(2) Persons who install, service, test, or maintain propane gas utilization equipment, or gas piping systems of which the equipment is a part, or accessories shall be trained in the proper procedures in accordance with applicable codes.

a.  Initial training shall include participation in a training program and shall include both a written qualification assessment (closed-book test) and a skills assessment, based on the objectives set forth in the recognized training program and the requirements of NFPA 54 National Fuel Gas Code, 2018 edition, NFPA 58 Liquefied Petroleum Gas Code, 2017 edition, and this chapter.

b.  Refresher training shall include both a written qualification assessment (closed-book test) and a hands-on skills assessment based on requirements of NFPA 54 National Fuel Gas Code, 2018 edition, NFPA 58 Liquefied Petroleum Gas Code, 2017 edition, and this chapter.

c.  The written qualification assessment shall be proctored through the training agency providing the refresher training or another qualified party.

d.  The hands-on skills assessment shall be completed by the training agency or another qualified party and shall include a verification of completion that shall be signed by the individual completing the required skills and the skills evaluator.

e.  Refresher training shall be provided at least every three years.

f.  All training shall be documented. Documentation shall be maintained by the current employer of the person receiving the training.

226.4(3) All training programs shall be instructor-led by a competent trainer.

226.4(4) Successful completion of the written qualification assessment and hands-on skills assessment shall satisfy the refresher training requirements of subrules 226.4(1) and 226.4(2).

226.4(5) The training requirements of subrules 226.4(1) through 226.4(4) shall not apply to users as defined in subrule 226.10(2). If the user is also a person who transfers or is employed to transport liquefied petroleum gas, or whose primary duties fall within the scope of this chapter, then the person must comply with the requirements of subrules 226.4(1) through 226.4(4).

[ARC 9235B, IAB 11/17/10, effective 1/1/11; ARC 1868C, IAB 2/18/15, effective 3/25/15; ARC 2874C, IAB 12/21/16, effective 1/25/17; ARC 4642C, IAB 8/28/19, effective 10/2/19]