875—90.14(89) Temporary objects.

90.14(1) Certificate to operate. A certificate to operate a temporary object shall expire one year from the date of issuance or when the temporary object is disconnected.

90.14(2) Inspections.

a.  An internal inspection and hydrostatic test pursuant to the National Board Inspection Code shall be performed on site at a new location before a temporary object is started up. Once a temporary object has been placed into normal operation, an external operating inspection shall be performed.

b.  An inspection on a temporary object that remains at the same location and is in continuous service longer than one year shall be performed according to the inspection schedule of Iowa Code section 89.3.

[ARC 5977C, IAB 10/20/21, effective 11/24/21]