875—93.1(89) Scope. This chapter sets forth requirements in addition to those contained in 875—Chapter 92 for boilers that:

1.   Have a heating surface of 20 square feet or less;

2.   Have a gross volume of 5 cubic feet or less, excluding casing and insulation;

3.   Have an inside shell diameter of 16 inches or less;

4.   Have 100 psig maximum allowable working pressure; and

5.   Were installed prior to September 20, 2006.

For objects covered by this chapter, if there is a conflict between this chapter and Chapter 92, this chapter shall govern the issue.