567—81.5(455B) Water distribution system grades.

81.5(1) Classifications. The water distribution plant classifications are listed in the following table:

Water Distribution System Classifications*

|  | Grade** |
| --- | --- |
| System Type | Average Daily Pumpage in MGD |
|  | 0-0.1 | >0.1-1.5 | >1.5-5 | >5 |
| All municipal water systems | I | II | III | IV |
| Community water systems not classified as a Grade A water system | I | II | III | IV |
| Nontransient noncommunity water systems not classified as a Grade A water system | I | II | III | IV |
| Transient noncommunity water systems not classified as a Grade A water system | I | II | III | IV |
| Rural water districts | Miles of Pipe |
|  | 0-100 | >100- 1,000 | >1,000- 2,500 | >2,500 |
|  | II | II | III | IV |

*Note: A public water system with a well, storage, and a distribution system shall be classified as a water distribution system if no treatment is provided.

**For Grade A water system classification, see subrule 81.6(1).

81.5(2) Average daily pumpage. When the average daily pumpage is unknown, the system grade will be determined from the population of the most recent census and an evaluation of commercial, industrial, and other users.

81.5(3) IR certificate holders. Rescinded IAB 1/7/04, effective 2/11/04.

[ARC 6193C, IAB 2/9/22, effective 3/16/22]