645—63.6 (157) Building standards. Salons and schools shall have and maintain:

1. 	 A service area that is equipped with exhaust fans or air filtration equipment that is of sufficient capacity to be capable of removing chemical fumes from the air;

2. 	 An area for the storing and dispensing of supplies and sanitizing of all implements;

3. 	 A reception area;

4. 	 Hot and cold running water and clean lavatory facilities;

5. 	 Safe drinking water;

6. 	 Hand-washing facilities;

7. 	 Adequate lighting;

8. 	 Work surfaces that are easily cleaned; and

9. 	 A complete first-aid kit in a readily accessible location on the premises. At a minimum, the first-aid kit must include adhesive dressings, gauze and antiseptic, tape, triple antibiotics, eyewash, and gloves.

[ARC 8515B, IAB 2/10/10, effective 3/17/10]