21—85.35(215) Meter adjustment. If a meter is found to be incorrect and also capable of further adjustment, said meter shall be adjusted, rechecked and sealed. If a seal is broken for any cause other than by a state inspector, the department of agriculture and land stewardship shall be promptly notified of same.

85.35(1) Companies specializing in testing and repairing gasoline and fuel oil dispensing pumps or meters, shall be registered with the division of weights and measures, upon meeting requirements set forth by the department of agriculture and land stewardship.

85.35(2) In accordance with the contemplated revision of National Institute of Standards and Technology Handbook 44-4th Edition, G-UR4.5 (Replacement of Security Seal), accredited repair and testing companies shall be authorized to affix a security seal, properly marked with the identification of such company.

85.35(3) If a meter is found to be inaccurate, “Repair and Placing in Service” card shall be left by the inspector.

85.35(4) After meter has been repaired and placed in service, the “Repair and Placing in Service” card must be returned to the Iowa Department of Agriculture and Land Stewardship, Weights and Measures Division.

This rule is intended to implement Iowa Code section 215.20.

[ARC 6216C, IAB 2/23/22, effective 5/1/22]