199—10.16(479) Reportable changes to pipelines under permit.

10.16(1)  A pipeline company shall file prior notice with the board of any of the following actions affecting a pipeline under permit:

a. 	Abandonment or removal from service. The pipeline company shall also notify the landowners prior to the abandonment or removal of the pipeline from service.

b. 	Pressure test or increase in maximum allowable or normal operating pressure.

c. 	Replacement of a pipeline or significant portion thereof, not including short repair sections of pipe at least as strong as the original pipe.

10.16(2) The notice shall include the docket and permit numbers of the pipeline, the location involved, a description of the proposed activity, anticipated dates of commencement and completion, revised maps and technical specifications, where appropriate, and the name and telephone number of a person to contact for additional information.

[ARC 4957C, IAB 2/26/20, effective 4/1/20]