199—10.17 (479) Reports to federal agencies.

10.17(1) Upon submission of any incident, annual, or other report to the U.S. Department of Transportation pursuant to 49 CFR Part 191, Part 192, or Part 199, a copy of the report shall be filed with the board. The board shall also be advised of any telephonic incident report made.

10.17(2) In addition to incident reports required by 49 CFR Part 191, the board shall be notified of any incident or accident where the economic damage exceeds $15,000 or which results in loss of service to 50 or more customers.

10.17(3) Utilities operating in other states shall provide to the board data for Iowa only.

10.17(4) The board shall be notified, as soon as practical, of any reportable incident by calling the board duty officer at (515)745-2332 or by e-mail to dutyofficer@iub.iowa.gov.

[ARC 7962B, IAB 7/15/09, effective 8/19/09; ARC 9501B, IAB 5/18/11, effective 6/22/11; ARC 1359C, IAB 3/5/14, effective 4/9/14]