21—85.39 (189,215) Weights and measures. The specifications, tolerances and regulations for commercial weighing and measuring devices, together with amendments thereto, as recommended by the National Institute of Standards and Technology and published in National Institute of Standards and Technology Handbook 44 amended or revised as of July 1, 2007, shall be the specifications, tolerances and regulations for commercial weighing and measuring devices in the state of Iowa, except as modified by state statutes, or by rules adopted and published by the Iowa department of agriculture and land stewardship and not rescinded.

The National Institute of Standards and Technology (NIST) Handbooks 130 and 133: Weights and Measures Law, Packaging and Labeling, Method of Sale, Type Evaluation and Checking the Net Contents of Packaged Goods, and all supplements, as promulgated by the National Institute of Standards and Technology amended or revised as of July 1, 2007, are adopted in their entirety by this reference.

This rule is intended to implement Iowa Code sections 189.9, 189.13, 189.17, 215.14, 215.18 and 215.23.