641—22.4 (135) Sanitation and infection control.

22.4(1) Tables, chairs, and other general-use equipment shall be constructed of impervious or smooth and easily cleanable material.

22.4(2) A sink for handwashing supplied with potable hot and cold running water shall be available in or directly adjacent to the tattooing area. Hand-washing facilities shall be supplied with liquid soap and single-use paper towels.

22.4(3) Toilet facilities must be available for employee use or patron use.

22.4(4) The tattoo establishment, including the immediate area where the tattoo procedure is to be performed, shall have an area of not less than 150 square feet and shall be adequately lighted and ventilated.

22.4(5) Floors in the immediate area where the tattoo procedure is to be performed shall have impervious, smooth, washable surfaces.

22.4(6) The entire premises and all facilities used in connection therewith shall be maintained in a clean, sanitary, vermin-free condition and in good repair.

22.4(7) All refuse shall be stored in rigid containers with plastic liners which are emptied at least once each business day.

22.4(8) Closed cabinets shall be used for the exclusive storage of instruments, dyes, pigments, stencils, tattoo machines, and other equipment.

22.4(9) Smoking or consumption of food or drink shall not be allowed in any area where the actual tattoo procedure is being performed.

22.4(10) No animals, except guide dogs for visually or hearing impaired persons, shall be permitted in a tattoo establishment.