481—51.22 (135B) Equipment for patient care. Hospital equipment shall be selected, maintained and utilized in accordance with the manufacturer’s specifications and the needs of the patients.
[ARC 2472C, IAB 3/30/16, effective 5/4/16]