641—41.20(136C) Equipment and safety standards for stereotactic breast biopsy. Equipment must be specifically designed for stereotactically guided breast biopsy.

41.20(1) Stereotactic facilities shall comply with the requirements of  641—Chapters 37 and 40.

41.20(2) Annual inspections shall be conducted by an inspector from the department to ensure compliance with these rules. Identified hazards shall be promptly corrected.

[ARC 0181D, IAB 4/1/26, effective 7/1/26]