641—41.21(136C) Suspension, revocation, denial, and reinstatement of authorization for stereotactic breast biopsy.

41.21(1) Suspension, revocation, or denial of authorization. Authorization may be suspended or revoked with cause if any machine does not meet one or more of the standards of these rules.

a.  Stereotactic facilities shall comply with the administrative enforcement action requirements of rule 641—37.10(136C).

b.  If authorization is revoked, the radiation machine cannot be used until reinstated.

c.  If suspension, revocation, or denial of authorization is initiated, the administrative enforcement actions in rule 641—37.10(136C) will apply.

41.21(2) Reinstatement of authorization.

a.  An application for reinstatement shall be submitted and processed as an initial application. Appropriate corrective actions shall be submitted as required by the department.

b.  A full reinstatement will be issued only after the department has determined the radiation machine and facility meet the requirements of these rules.

[ARC 0181D, IAB 4/1/26, effective 7/1/26]