641—41.3(136C) General provisions for mammography. All Iowa mammography facilities and personnel shall comply with the applicable regulations of 21 CFR 900 as adopted in rule 641—41.1(136C). In addition, compliance with the requirements of  641—Chapters 37 and 40 and the rules contained herein are required. Where differences exist, compliance with the most stringent applicable standard, whether CFR regulations or the Iowa Administrative Code, applies.

[ARC 0181D, IAB 4/1/26, effective 7/1/26]