641—11.25 (141) Laboratory procedures and procedure manual requirements.

11.25(1) All laboratories shall have written procedures and a procedure manual which encompasses all current aspects of the HIV testing process including, but not limited to:

a.   	 Specimen acquisition.

b.   	 Specimen and report security.

c.   	 Test performance.

d.   	 Reporting of results.

e.   	 Confirmation of positive test results.

f.   	 Confidentiality.

11.25(2) Procedure manuals shall be readily available for review during any on-site inspection.

11.25(3) Positive and negative controls shall be used each time a test is performed.

11.25(4) Laboratories shall develop criteria for the rejection of specimens.