481—60.13 (135C) Codes and standards.

60.13(1) General. Nothing stated herein shall relieve the sponsor from compliance with building codes, ordinances, and regulations which are enforced by city, county, or state jurisdictions. Where such codes, ordinances, and regulations are not in effect, it shall be the responsibility of the sponsor to consult one of the national building codes generally used in the area for all components of the standards set forth herein, provided the requirements of the code are not inconsistent with the minimum standards herein. (III)

60.13(2) List of referenced codes and standards. The latest revisions of the following codes and standards have been used in whole or in part in these rules and shall be used as references where specific details are required or interpretation is needed:

American Society of Heating, Refrigerating and Air Conditioning Engineers (ASHRAE) Handbooks.

American Society for Testing and Materials (ASTM) Standard No.	E 84-61, Method of Test for Surface Burning Characteristics of Building Material.

International Conference of Building Officials (ICBO) Uniform Building Code.

Iowa State Building Code.

Iowa State Plumbing Code.

Iowa State Bureau of Labor Standards.

National Fire Protection Association (NFPA) Standard No.	70, National Electrical Code.

National Fire Protection Association (NFPA) Standard No.	90A and Installation of Air Conditioning and Ventilating Systems.

National Fire Protection Association (NFPA) Standard No.	101, Life Safety Code.

Food Service Sanitation Manual (DHEW Publication No.	(FDA) 8-2081).

Underwriters Laboratories, Inc.	listings.

American National Standards Institute (ANSI) Standard No.	A117.1—1986, American Standard Specifications for Making Buildings and Facilities Accessible to, and Usable by, the Physically Handicapped.

Copies of nongovernment publications can be obtained from the various agencies at the addresses listed:

American Society for Testing and Materials

1916 Race Street

Philadelphia, Pennsylvania 19103

National Fire Protection Association

Batterymarch Park

Quincy, Massachusetts 02269

Underwriters Laboratories, Inc.

333 Pfingsten Road

Northbrook, Illinois 66062

American National Standards Institute

1430 Broadway

New York, New York 10018

International Conference of Building Officials (ICBO)

Uniform Building Code

5360 South Workman Mill Road

Whittier, California 90601

American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE)

1791 Tullie Circle N.E.

Atlanta, Georgia 30329

Except as noted in the list, copies of government publications can be purchased from the Superintendent of Documents, U.S. Government Printing Office, Washington, D.C. 20402.