481—61.14 (135C) Codes and standards. Nothing in the rules shall relieve anyone from compliance with building codes, ordinances and regulations which are enforced by city, county or state jurisdictions. Where codes, ordinances and regulations are not in effect, the sponsor shall consult one of the national building codes, provided the requirements of the code are not less stringent than the minimum standards set in this chapter. (III)

Any alterations, or any installation of new equipment, shall be accomplished as nearly as practical in conformance with all applicable codes, ordinances, regulations and standards required for new construction. Alterations shall not diminish the level of compliance with any codes, ordinances, regulations or standards below that which existed prior to the alterations. Any feature which does not meet the requirement for new buildings but exceeds the requirement for existing buildings shall not be further diminished. Features which exceed requirements for new construction need not be maintained. In no case shall any feature be less than that required for existing buildings. (III)

Note:  The following codes and standards have been used in whole or in part in these rules:

American Society of Heating, Refrigerating and Air Conditioning Engineers (ASHRAE) Handbooks.

American Society for Testing and Materials (ASTM) Standard E 84, Method of Test for Surface Burning Characteristics of Building Material.

International Conference of Building Officials (ICBO) Uniform Building Code.

Iowa State Building Code.

Iowa State Plumbing Code.

Labor Services Division, Department of Employment Services.

National Fire Protection Association (NFPA) Standard 70, National Electrical Code.

National Fire Protection Association (NFPA) Standard 90A & 90B, Installation of Air Conditioning and Ventilating Systems.

National Fire Protection Association (NFPA) Standard 101, Life Safety Code.

Food Service Sanitation Manual (DHEW Publication (FDA) 8-2081).

Underwriters’ Laboratories, Inc.	lists.

American National Standards Institute (ANSI) Standard A 117.1-1986, American Standard Specifications for Making Buildings and Facilities Accessible to, and Usable by, the Physically Handicapped.

Copies of nongovernment publications can be obtained from the various agencies at the addresses listed:

American Society for Testing and Materials

1916 Race Street

Philadelphia, Pennsylvania 19103

Iowa State Building Code

Department of Public Safety

Wallace State Office Building

Des Moines, Iowa 50319

Iowa State Plumbing Code

Department of Public Health

Lucas State Office Building

Des Moines, Iowa 50319

National Fire Protection Association

Batterymarch Park

Quincy, Massachusetts 02269

Underwriters Laboratories, Inc.

33 Pfingsten Road

Northbrook, Illinois 66062

American National Standards Institute

1430 Broadway

New York, New York 10018

International Conference of Building Officials (ICBO)

Uniform Building Code

5360 South Workman Mill Road

Whittier, California 90601

American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE)

1791 Tullie Circle N.E.

Atlanta, Georgia 30329

Except as noted in the list, copies of government publications can be purchased from the Superintendent of Documents, U.S. Government Printing Office, Washington, D.C. 20402.