481—61.9 (135C) Public area.

61.9(1) Every facility shall provide a separate toilet for the public with a lavatory and water closet. (III)

a.   	 Public toilets shall be accessible to and usable by people who have a physical handicap. Equipment shall meet the ANSI document A117.1-1986. (III) (Exception 3)

b.   	 In facilities over 15 beds, there shall be public toilet rooms for both men and women. (III) (Exception 4)

c.   	 Public toilets shall contain a 60-inch by 60-inch clear floor area, free from obstructions. (III) (Exception 3)

61.9(2) A telephone shall be accessible to residents within the facility to make personal calls. The telephone shall be accessible to and functional for people who have a physical handicap. (III)