199—21.5 (476) Engineering practice.

21.5(1) Requirement of good engineering practice. The design and construction of the utility’s water plant shall conform to good standard engineering practice.

21.5(2) Inspection of water plant. Each utility shall adopt and follow a program of inspection of its water plant in order to determine the necessity for replacement and repair. The frequency of the various inspections shall be based on the utility’s experience and accepted good practice.