641—12.10(730) Reporting of confirmed positive test results to the medical review officer. 
    12.10(1) Each report shall identify the alcohol or other drugs, or their metabolites, being tested with the results of positive/negative or detected/nondetected clearly recorded.
    12.10(2) Approved confirmatory laboratories shall have available a written summary of the established sensitivity levels used for the confirmatory tests conducted for alcohol or other drugs, or their metabolites. However, this information need not be issued with each report.
    12.10(3) Approved confirmatory laboratories shall have written procedures for making both written and telephone reports to the medical review officer.
    12.10(4) All test results must be reviewed and signed by the laboratory director, or a qualified designee, before being reported to the medical review officer.
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