199—20.1 (476) General information.

20.1(1) Authorization of rules. Iowa Code chapter 476 provides that the Iowa utilities board shall establish all needful, just and reasonable rules, not inconsistent with law, to govern the exercise of its powers and duties, the practice and procedure before it, and to govern the form, content and filing of reports, documents and other papers necessary to carry out the provisions of this law.

Iowa Code chapter 478 provides that the Iowa utilities board shall have power to make and enforce rules relating to the location, construction, operation and maintenance of certain electrical transmission lines.

The application of the rules in this chapter to municipally owned utilities furnishing electricity is limited by Iowa Code section 476.1B, and the application of the rules in this chapter to electric utilities with fewer than 10,000 customers and to electric cooperative associations is limited by the provisions of Iowa Code section 476.1A.

20.1(2) Application of rules. The rules shall apply to any electric utility operating within the state of Iowa subject to Iowa Code chapter 476, and to the construction, operation and maintenance of electric transmission lines to the extent provided in Iowa Code chapter 478, and shall supersede all tariffs on file with the board which are in conflict with these rules.

These rules are intended to promote safe and adequate service to the public, to provide standards for uniform and reasonable practices by utilities, and to establish a basis for determining the reasonableness of such demands as may be made by the public upon the utilities.

A request to waive the application of any rule on a permanent or temporary basis may be made in accordance with 199—1.3(17A,474,476,78GA,HF2206).

The adoption of these rules shall in no way preclude the board from altering or amending them pursuant to statute or from making such modifications with respect to their application as may be found necessary to meet exceptional conditions.

These rules shall in no way relieve any utility from any of its duties under the laws of this state.

20.1(3) Definitions. The following words and terms when used in these rules, shall have the meaning indicated below:

“Acid Rain Program” means the sulfur dioxide and nitrogen oxides air pollution control program established pursuant to Title IV of the Act under 40 CFR Parts 72-78.

“Act” means the Clean Air Act, 42 U.S.C. Section 7401, et seq., as amended by Pub. L. 101-549, November 15, 1990.

“Affected unit” means a unit or source that is subject to any emission reduction requirement or limitation under the Acid Rain Program, the Clean Air Interstate Rule (CAIR) or the Clean Air Mercury Rule (CAMR), or a unit or source that opts in under 40 CFR Part 74.

“Allowance” means an authorization, allocated by the United States Environmental Protection Agency (EPA) under the Acid Rain Program, to emit sulfur dioxide (SO2), any SO2 and nitrogen oxide (NOX) emissions subject to the Clean Air Interstate Rule (CAIR), or mercury (Hg) emissions subject to the Clean Air Mercury Rule (CAMR), during or after a specified calendar year.

“Allowance forward contract” is an agreement between a buyer and seller to transfer an allowance on a specified future date at a specified price.

“Allowance futures contract” is an agreement between a futures exchange clearinghouse and a buyer or seller to buy or sell an allowance on a specified future date at a specified price.

“Allowance option contract” is an agreement between a buyer and seller whereby the buyer has the option to transfer an allowance(s) at a specified date at a specified price. The seller of a call or put option will receive a premium for taking on the associated risk.

“Board” means the utilities board.

“Clean Air Interstate Rule”  or “CAIR”  means the requirements EPA published in the Federal Register (70 Fed. Reg. 25161) on May 12, 2005.

“Clean Air Mercury Rule”  or “CAMR”  means the requirements EPA published in the Federal Register (70 Fed. Reg. 28605) on May 18, 2005.

“Complaint” as used in these rules is a statement or question by anyone, whether a utility customer or not, alleging a wrong, grievance, injury, dissatisfaction, illegal action or procedure, dangerous condition or action, or utility obligation.

“Compliance plan” means the document submitted for an affected source to the EPA which specifies the methods by which each affected unit at the source will meet the applicable emissions limitation and emissions reduction requirements.

“Customer” means any person, firm, association, or corporation, any agency of the federal, state or local government, or legal entity responsible by law for payment for the electric service or heat from the electric utility.

“Delinquent”  or “ delinquency”  means an account for which a service bill or service payment agreement has not been paid in full on or before the last day for timely payment.

“Distribution line” means any single or multiphase electric power line operating at nominal voltage in either of the following ranges: 2,000 to 26,000 volts between ungrounded conductors or 1,155 to 15,000 volts between grounded and ungrounded conductors, regardless of the functional service provided by the line.

“Economy energy” is energy bought or sold in a transaction wherein the supplier’s incremental cost is less than the buyer’s decremental cost, and the differential in cost is shared in an equitable manner by the supplier and buyer.

“Electric plant” includes all real estate, fixtures and property owned, controlled, operated or managed in connection with or to facilitate production, generation, transmission, or distribution, in providing electric service or heat by an electric utility.

“Electric service” is furnishing to the public for compensation any electricity, heat, light, power, or energy.

“Emission for emission trade” is an exchange of one type of emission for another type of emission. For example, the exchange of SO2 emission allowances for NOX emission allowances.

“Energy” means electric energy measured in kilowatt hours.

“Firm power” is power and associated energy intended to be available at all times during the period covered by the commitment.

“Gains and losses from allowance sales” are calculated as the difference between the sale price of allowances sold during the month and the weighted average unit cost of inventoried allowances.

“Meter” means, unless otherwise qualified, a device that measures and registers the integral of an electrical quantity with respect to time.

“Meter shop” is a shop where meters are inspected, repaired and tested, and may be at a fixed location or may be mobile.

“Operating reserve” is a reserve generating capacity required to ensure reliability of generation resources.

“Operational control energy” is energy supplied by a selling utility to a buying utility for the improvement of electric system operation.

“Outage energy” is energy purchased during emergency or scheduled maintenance outages of generation or transmission facilities, or both.

“Participation power” means power and associated energy or energy which is purchased or sold from a specific unit or units on the basis that its availability is subject to prorate or other specified reduction if the units are not operated at full capacity.

“Peaking power” is power and associated energy intended to be available at all times during the commitment and which is anticipated to have low load factor use.

“Power” means electric power measured in kilowatts.

“Price hedging” means using futures contracts or options to guard against unfavorable price changes.

“Rate-regulated utility” means any utility, as defined in 20.1(3), which is subject to board rate regulation under Iowa Code chapter 476.

“Secondary line” means any single or multiphase electric power line operating at nominal voltage less than either 2,000 volts between ungrounded conductors or 1,155 volts between grounded and ungrounded conductors, regardless of the functional service provided by the line.

“Service limitation” means the establishment of a limit on the amount of power that may be consumed by a residential customer through the installation of a service limiter on the customer’s meter.

“Service limiter” means a circuit breaker device that limits a residential customer’s power consumption to 15 amps at 120 volts (or some higher level of usage approved by the board) and that either resets itself automatically or can be reset by the customer.

“Speculation” means using futures contracts or options to profit from expectations of future price changes.

“Tariff” means the entire body of rates, tolls, rentals, charges, classifications, rules, procedures, policies, etc., adopted and filed with the board by an electric utility in fulfilling its role of furnishing service.

“Timely payment” is a payment on a customer’s account made on or before the date shown on a current bill for service, or on a form which records an agreement between the customer and a utility for a series of partial payments to settle a delinquent account, as the date which determines application of a late payment charge to the current bill or future collection efforts.

“Transmission line” means any single or multiphase electric power line operating at nominal voltages at or in excess of either 69,000 volts between ungrounded conductors or 40,000 volts between grounded and ungrounded conductors, regardless of the functional service provided by the line.

“Utility” means any person, partnership, business association or corporation, domestic or foreign, owning or operating any facilities for providing electric service or heat to the public for compensation.

“Vintage trade” is an exchange of one vintage of allowances for another vintage of allowances with the difference in value between vintages being cash or additional allowances.

“Weighted average unit cost of inventoried allowances” equals the dollars in inventory at the end of the month divided by the total allowances available for use at the end of the month.

“Wheeling service” is the service provided by a utility in consenting to the use of its transmission facilities by another party for the purpose of scheduling delivery of power or energy, or both.

20.1(4) Abbreviations. The following abbreviations may be used where appropriate:

ANSI—American National Standards Institute, 1430 Broadway, New York, New York 10018.

DOE—Department of Energy, Washington, D.C. 20426.

EPA—United States Environmental Protection Agency.

FCC—Federal Communications Commission, 1919 M Street, Washington, D.C. 20554.

FERC—Federal Energy Regulatory Commission, Washington, D.C. 20426.

NARUC—National Association of Regulatory Utility Commissioners, P.O. Box 684, Washington, D.C. 20044.

NBS—National Bureau of Standards, Washington, D.C. 20234.

NFPA—National Fire Protection Association, 470 Atlantic Ave., Boston, Massachusetts 02210.