21—85.52 (215A) Testing devices. All moisture-measuring devices will be tested against a measuring device which will be furnished by the department and all moisture-measuring devices will be inspected to determine whether they are in proper operational condition and supplied with the proper accessories.

This rule is intended to implement Iowa Code section 215A.2.